## PROJECT BENCHMARK TEMPLATE
UP-Philippine General Hospital
Supply, Delivery, Installation, Testing, and Commissioning of VRF Air-Conditioning for 3rd Floor OR
Taft Avenue, Ermita, Manila 1000
Contractor: JEJORS CONSTRUCTION CORPORATION
PROCUREMENT BENCHMARKED QTY
Item No. | Description of Work | Unit/s | Qty | Unit Cost | Total Cost
I | GENERAL REQUIREMENTS
PERMITS, FEES, TAXES AND LICENSES
a. Barangay Permits
b. Local Government Permits
c. BFD Permits
d. DENR Permits
e. Permits and Fees
INSURANCES AND BONDS
a. Guarantee / Warranty Bonds
b. Contractor's All Risk Insurance (CARI)
c. Performance Bond
d. Other Insurances and Bonds
| Mobilization and Demobilization | lot | 1 | 169588.3284 | 169588.3284
Site Management Work
| a. Project Management | lot | 1 | 678976 | 678976
| b. Admin Support - Accounting, Procurement, Logistics | lot | 1 | 279580 | 279580
| c.Quality Management | lot | 1 | 279580 | 279580
| d. Engineering Management - Clarifications & Drawings | lot | 1 | 319519 | 319519
Temporary Works
a. Site Office
| b. Warehouse | lot | 1 | 51615 | 51615
| b. Site Office Materials & Communication | lot | 1 | 14747 | 14747
| c. Temporary Tools & Cleaning Materials | lot | 1 | 7374 | 7374
| b. Off-site Barracks - Construction and-or Rent - Electric Consumption - Water Consumption | lot | 1 | 184338 | 184338
Temporary Utilities
a. On-Site Water Consumption
b. On-Site Electric Consumption
Security, Safety and Protection
| a. Safety Officer | lot | 1 | 545104.5199 | 545104.5199
| b. Personal Protective Equipment (PPE's) | lot | 1 | 121134.5203 | 121134.5203
| b. Security Guards |  | 1
Quality Standard and Control
| a. Shopdrawings, As-built plans for Occupancy including Sign & Seal | lot | 1 | 193815.2325 | 193815.2325
b. Material Testing
Transportation
| a. Manpower Service | lot | 1 | 242269.0406 | 242269.0406
| b. Engineer Transportation | lot | 1 | 181702.6019 | 181702.6019
c. Village Delivery/Gate Pass Fees
III | MECHANICAL WORKS
Mechanical Works
I-A. | AIR CONDITIONING- VRV SYSTEM A
AIR CONDITIONING- VRV SYSTEM A | ACCU- 18HP Model: RXQ18BYM | units | 3 | 466699.9977 | 1400099.9932
AIR CONDITIONING- VRV SYSTEM A | FCU- 2 HP Wall Mounted VRF A (OR No. 2, PNCOU, OR No.3, OR, Pantry, OR Complex Conference Room) Model: FXAQ50BVM | units | 6 | 34692.6577 | 208155.9461
AIR CONDITIONING- VRV SYSTEM A | FCU- 2.5HP Wall Mounted VRF A (OR No. 2 ENT, OR No. 1 ENT, Chief Nurse, OR Pharmacy) Model: FXAQ63BVM | units | 3 | 35407.7804 | 106223.3411
AIR CONDITIONING- VRV SYSTEM A | FCU- 6HP ceiling Cassette VRF A (Corridor Near OR No.1, Corridor Near OR No. 2 ENT) Model: FXFQ140AVM | units | 2 | 55124.685 | 110249.37
Accessories:
ACU Accessories: | Navigation Wired Controller Model: BRC1E63 | units | 11 | 7406.6134 | 81472.7479
ACU Accessories: | Standard panel(Fresh white) Model: BYCQ125EAF | units | 2 | 14072.5668 | 28145.1336
ACU Accessories: | Refnet Joints Model: KHRP26A22T | units | 2 | 2740.4492 | 5480.8985
ACU Accessories: | Refnet Joints Model: KHRP26A33T | units | 2 | 3110.7824 | 6221.5649
ACU Accessories: | Refnet Joints Model: KHRP26A732T | units | 3 | 5184.6332 | 15553.8996
ACU Accessories: | Refnet Joints Model: KHRP26A733T | units | 3 | 8887.9399 | 26663.8197
ACU Accessories: | Pipe Size Reducer Model: KHRP26M73TP | units | 3 | 3777.3746 | 11332.1239
ACU Accessories: | VRV Multi Con piping kit Model: BHFP22R168-7 | units | 1 | 25034.3449 | 25034.3449
Copper Pipes - Type L Hard Drawn Pipes
Copper Pipes - Type L Hard Drawn Pipes | 1/4" | length/s | 10 | 1335.3319 | 13353.3191
Copper Pipes - Type L Hard Drawn Pipes | 3/8" | length/s | 13 | 1859.3177 | 24171.1305
Copper Pipes - Type L Hard Drawn Pipes | 1/2" | length/s | 14 | 2958.0052 | 41412.0727
Copper Pipes - Type L Hard Drawn Pipes | 5/8" | length/s | 9 | 4267.3274 | 38405.9463
Copper Pipes - Type L Hard Drawn Pipes | 3/4" | length/s | 9 | 5442.7278 | 48984.5501
Copper Pipes - Type L Hard Drawn Pipes | 7/8" | length/s | 2 | 6845.6661 | 13691.3322
Copper Pipes - Type L Hard Drawn Pipes | 1-1/8" | length/s | 8 | 9803.665 | 78429.3199
Copper Pipes - Type L Hard Drawn Pipes | 1-3/8" | length/s | 5 | 13234.9402 | 66174.7009
Copper Pipes - Type L Hard Drawn Pipes | 1-5/8" | length/s | 4 | 13234.9402 | 52939.7607
Copper Pipes Insulation 25mm Thick
Copper Pipes Insulation 25mm Thick | 1/4" | length/s | 19 | 273.0518 | 5187.9836
Copper Pipes Insulation 25mm Thick | 3/8" | length/s | 26 | 278.2537 | 7234.5966
Copper Pipes Insulation 25mm Thick | 1/2" | length/s | 27 | 325.0586 | 8776.583
Copper Pipes Insulation 25mm Thick | 5/8" | length/s | 18 | 396.5759 | 7138.3669
Copper Pipes Insulation 25mm Thick | 3/4" | length/s | 17 | 445.9818 | 7581.691
Copper Pipes Insulation 25mm Thick | 7/8" | length/s | 4 | 494.0904 | 1976.3615
Copper Pipes Insulation 25mm Thick | 1-1/8" | length/s | 15 | 533.0987 | 7996.4801
Copper Pipes Insulation 25mm Thick | 1-3/8" | length/s | 10 | 564.2978 | 5642.9775
Copper Pipes Insulation 25mm Thick | 1-5/8" | length/s | 8 | 564.2978 | 4514.382
Copper Pipe Fittings | Copper Pipe Fittings | lot | 1 | 36511.8146 | 36511.8146
Isolation Ball Valves | Isolation Ball Valves | pc/s | 22 | 2019.9924 | 44439.8318
PVC Cladding Works | PVC Cladding Works | lot | 1 | 14032.5635 | 14032.5635
Concrete Pad | Concrete Pad | pcs | 3 | 6059.9582 | 18179.8745
Condensate Drain Pipes
Condensate Drain Pipes | 32mm dia. uPVC blue pipe PNS 65 | length/s | 39 | 254.5238 | 9926.4271
Condensate Drain Pipes | 50mm dia. PVC blue uPVC blue pipe PNS 65 | length/s | 22 | 404.2088 | 8892.594
Condensate Drain Pipes Rubber Insulation 1.5 meters
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 32mm pvc | length/s | 77 | 269.3361 | 20738.8791
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 50mm pvc | length/s | 43 | 511.7367 | 22004.6775
Drain Pump
(5.0m pump Lift) Model: BDU513A450VE | (5.0m pump Lift) Model: BDU513A450VE | pcs | 9 | 19191.2499 | 172721.2491
Fittings
Fittings | Wye Reducer 50 x 32 | pcs | 11 | 121.2066 | 1333.2725
Fittings | Tee 32mm | pcs | 2 | 33.6741 | 67.3482
Fittings | Tee Reducer 50 x 32 | pcs | 2 | 127.9389 | 255.8778
Fittings | Elbow 32mm | pcs | 6 | 27.4771 | 164.8626
Fittings | Cleanout 50mm | pcs | 4 | 134.6712 | 538.6848
RELATED ELECTRICAL WORKS
Rough-ins
Rough-ins | liquid-tight metallic flexible conduits 1-1/2" | m | 78 | 254.5238 | 19852.8543
Rough-ins | Metallic Flexible Conduit 20mm | m | 586 | 41.4833 | 24309.2214
Rough-ins | Metallic Flexible Conduit Connector 20mm | pcs | 29 | 20.2095 | 586.0754
Cables / Wires
Cables / Wires | Communication wire (PD Royal Cord 0.75mm/2C) | m | 419 | 50.9111 | 21331.7309
Cables / Wires | Wire 3.5mm² THHN (5 meters per Unit) | m | 71 | 49.4248 | 3509.1595
Cables / Wires | Wire 5.5mm² THHN (5 meters per Unit) | m | 26 | 75.6423 | 1966.7008
Cables / Wires | Wire 30.0mm² THHN (5 meters per Unit) | m | 59 | 497.7305 | 29366.0983
for ground:
Cables / Wires | Wire 3.5mm² THHN (G) (5 meters per Unit) | m | 72 | 49.4248 | 3558.5843
Cables / Wires | Wire 8.0mm² THHN (G) (5 meters per Unit) | m | 20 | 118.3222 | 2366.4445
I-B. | CONSUMABLES
CONSUMABLES | Vibration Isolator | pcs | 14 | 1021.2198 | 14297.0776
CONSUMABLES | Angle Bar, 2x2x 1/4 (6 meters) | length/s | 5 | 1853.9059 | 9269.5293
CONSUMABLES | Rugby | bottle | 15 | 204.2498 | 3063.7476
CONSUMABLES | White Tape | rolls | 29 | 274.9537 | 7973.657
CONSUMABLES | Threaded rod 3/8 (6 meters) | length/s | 66 | 125.6916 | 8295.6486
CONSUMABLES | Nuts and washer 3/8 | pcs | 22 | 15.716 | 345.7531
CONSUMABLES | Grip Anchor 3/8 | pcs | 22 | 7.8617 | 172.9573
CONSUMABLES | Paint (Red Oxide) | gallon | 1 | 2521.6211 | 2521.6211
CONSUMABLES | Loop Hangers | pcs | 246 | 31.4321 | 7732.2956
CONSUMABLES | Freon | tank | 4 | 10652.0639 | 42608.2557
CONSUMABLES | Nitrogen | tank | 2 | 13354.3498 | 26708.6996
CONSUMABLES | Mapp Gas | tank | 8 | 628.4435 | 5027.5483
CONSUMABLES | Silver Rod | pcs | 99 | 39.2864 | 3889.3582
CONSUMABLES | Paint Brush | pcs | 1 | 157.1164 | 157.1164
CHIPPING & RESTORATION (ROUGH-ONLY) | CHIPPING & RESTORATION (ROUGH-ONLY) | lot | 1 | 541758.2826 | 541758.2826
MISCELLANEOUS | MISCELLANEOUS | lot | 1 | 4176.2954 | 4176.2954
TESTING & COMMISSIONING | TESTING & COMMISSIONING | lot | 1 | 30338.4675 | 30338.4675
II.A | AIR CONDITIONING- VRV SYSTEM B
AIR CONDITIONING- VRV SYSTEM B | ACCU- Model: RXQ18BYM | units | 3 | 466699.9977 | 1400099.9932
AIR CONDITIONING- VRV SYSTEM B | FCU- 2 HP Wall Mounted VRF B (OR No. 1 and 3, OR No. 1 Miyake Eye (2), OR No. 2 NSS(2), OR No. 3 Euro-open (2), OR No. 8 Ortho, NSS/ Pay, Storage Room, OR Complex Conference Room) Model: FXAQ50BVM | units | 10 | 34692.6577 | 346926.5768
AIR CONDITIONING- VRV SYSTEM B | FCU- 2.5HP Wall Mounted VRF B ( OR no. 4, 6, 13, 14, 15, OR Pharmacy) Model: FXAQ63BVM | units | 2 | 35407.7804 | 70815.5607
AIR CONDITIONING- VRV SYSTEM B | FCU- 6HP ceiling Cassette VRF B (Corridor near OR No. 2 NSS, Corridor Near Supply Room) Model: FXFQ140AVM | units | 1 | 55124.685 | 55124.685
Accessories:
ACU Accessories: | Wired Remote Controller Model: BRC1E63 | units | 13 | 7406.6134 | 96285.9748
ACU Accessories: | Standard panel(Fresh white) Model: BYCQ125EAF | units | 1 | 14072.5668 | 14072.5668
ACU Accessories: | Refnet Joints Model: KHRP26A22T | units | 6 | 2740.4492 | 16442.6954
ACU Accessories: | Refnet Joints Model: KHRP26A33T | units | 1 | 3110.7824 | 3110.7824
ACU Accessories: | Refnet Joints Model: KHRP26A72T | units | 3 | 5184.6332 | 15553.8996
ACU Accessories: | Refnet Joints Model: KHRP26A73T | units | 2 | 8887.9399 | 17775.8798
ACU Accessories: | Pipe Size Reducer Model: KHRP26M73TP | units | 2 | 3777.3746 | 7554.7492
ACU Accessories: | VRV Multi Con piping kit Model: BHFP22R168-7 | units | 1 | 25034.3449 | 25034.3449
Copper Pipes - Type L Hard Drawn Pipes
Copper Pipes - Type L Hard Drawn Pipes | 1/4" | length/s | 14 | 1335.3319 | 18694.6467
Copper Pipes - Type L Hard Drawn Pipes | 3/8" | length/s | 11 | 1859.3177 | 20452.495
Copper Pipes - Type L Hard Drawn Pipes | 1/2" | length/s | 15 | 2958.0052 | 44370.0779
Copper Pipes - Type L Hard Drawn Pipes | 5/8" | length/s | 12 | 4267.3274 | 51207.9285
Copper Pipes - Type L Hard Drawn Pipes | 3/4" | length/s | 13 | 5442.7278 | 70755.4613
Copper Pipes - Type L Hard Drawn Pipes | 7/8" | length/s | 1 | 6845.6661 | 6845.6661
Copper Pipes - Type L Hard Drawn Pipes | 1-1/8" | length/s | 5 | 9803.665 | 49018.325
Copper Pipes - Type L Hard Drawn Pipes | 1-3/8" | length/s | 1 | 17028.985 | 17028.985
Copper Pipes - Type L Hard Drawn Pipes | 1-5/8" | length/s | 12 | 17028.985 | 204347.8195
Copper Pipes Insulation 25mm Thick
Copper Pipes Insulation 25mm Thick | 1/4" | length/s | 27 | 273.0518 | 7372.3977
Copper Pipes Insulation 25mm Thick | 3/8" | length/s | 21 | 278.2537 | 5843.328
Copper Pipes Insulation 25mm Thick | 1/2" | length/s | 30 | 325.0586 | 9751.7589
Copper Pipes Insulation 25mm Thick | 5/8" | length/s | 24 | 396.5759 | 9517.8225
Copper Pipes Insulation 25mm Thick | 3/4" | length/s | 26 | 445.9818 | 11595.5275
Copper Pipes Insulation 25mm Thick | 7/8" | length/s | 2 | 494.0904 | 988.1808
Copper Pipes Insulation 25mm Thick | 1-1/8" | length/s | 9 | 533.0987 | 4797.888
Copper Pipes Insulation 25mm Thick | 1-3/8" | length/s | 2 | 637.1187 | 1274.2374
Copper Pipes Insulation 25mm Thick | 1-5/8" | length/s | 24 | 637.1187 | 15290.8486
Copper Pipe Fittings | Copper Pipe Fittings | lot | 1 | 55252.3846 | 55252.3846
Isolation Ball Valves | Isolation Ball Valves | pc/s | 26 | 2019.9924 | 52519.8012
PVC Cladding Works | PVC Cladding Works | lot | 1 | 5186.0565 | 5186.0565
Concrete Pad | Concrete Pad | pcs | 3 | 6059.9582 | 18179.8745
Condensate Drain Pipes
Condensate Drain Pipes | 32mm dia. uPVC blue pipe PNS 65 | length/s | 37 | 254.5238 | 9417.3796
Condensate Drain Pipes | 50mm dia. PVC blue uPVC blue pipe PNS 65 | length/s | 24 | 404.2088 | 9701.0116
Condensate Drain Pipes Rubber Insulation 1.5 meters
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 32mm pvc | length/s | 74 | 269.3361 | 19930.8709
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 50mm pvc | length/s | 48 | 511.7367 | 24563.361
Drain Pump
(5.0m pump Lift) Model: BDU513A450VE | (5.0m pump Lift) Model: BDU513A450VE | pcs | 12 | 19191.2499 | 230294.9988
Fittings
Fittings | Wye 50mm | pcs | 3 | 134.6712 | 404.0136
Fittings | Wye Reducer 50 x 32 | pcs | 13 | 121.2066 | 1575.6857
Fittings | Tee 32mm | pcs | 3 | 33.6741 | 101.0223
Fittings | Elbow 32mm | pcs | 6 | 27.4771 | 164.8626
Fittings | Cleanout 50mm | pcs | 4 | 134.6712 | 538.6848
RELATED ELECTRICAL WORKS
Rough-ins
Rough-ins | liquid-tight metallic flexible conduits 1-1/2" | m | 78 | 254.5238 | 19852.8543
Rough-ins | Metallic Flexible Conduit | m | 673 | 41.4833 | 27918.2696
Rough-ins | Metallic Flexible Conduit Connector 20mm | pcs | 34 | 20.2095 | 687.1229
Cables / Wires
Cables / Wires | Communication wire (PD Royal Cord 0.75mm/2C) | m | 482 | 50.9111 | 24539.1272
Cables / Wires | Wire 3.5mm² THHN (5 meters per Unit) | m | 94 | 49.4248 | 4645.9295
Cables / Wires | Wire 5.5mm² THHN (5 meters per Unit) | m | 13 | 72.9469 | 948.3097
Cables / Wires | Wire 30.0mm² THHN (5 meters per Unit) | m | 59 | 497.1889 | 29334.1435
for ground:
Cables / Wires | Wire 3.5mm² THHN (G) (5 meters per Unit) | m | 85 | 49.4248 | 4201.1065
Cables / Wires | Wire 8.0mm² THHN (G) (5 meters per Unit) | m | 20 | 118.3222 | 2366.4445
CONSUMABLES
CONSUMABLES | Vibration Isolator | pcs | 11 | 1021.2198 | 11233.4181
CONSUMABLES | Angle Bar, 2x2x 1/4 (6 meters) | length/s | 4 | 1853.9059 | 7415.6234
CONSUMABLES | Rugby | bottle | 18 | 204.2498 | 3676.4972
CONSUMABLES | White Tape | rolls | 34 | 274.9537 | 9348.4255
CONSUMABLES | Threaded rod 3/8 (6 meters) | length/s | 75 | 125.6916 | 9426.8735
CONSUMABLES | Nuts and washer 3/8 | pcs | 22 | 15.716 | 345.7531
CONSUMABLES | Grip Anchor 3/8 | pcs | 22 | 7.8617 | 172.9573
CONSUMABLES | Paint (Red Oxide) | gallon | 1 | 2521.6211 | 2521.6211
CONSUMABLES | Loop Hangers | pcs | 281 | 31.4321 | 8832.4189
CONSUMABLES | Freon | tank | 5 | 10652.0639 | 53260.3196
CONSUMABLES | Nitrogen | tank | 3 | 13354.3498 | 40063.0495
CONSUMABLES | Mapp Gas | tank | 8 | 628.4435 | 5027.5483
CONSUMABLES | Silver Rod | pcs | 112 | 39.2864 | 4400.0819
CONSUMABLES | Paint Brush | pcs | 1 | 157.1164 | 157.1164
CHIPPING & RESTORATION (ROUGH-ONLY) | CHIPPING & RESTORATION (ROUGH-ONLY) | lot | 1 | 541758.2826 | 541758.2826
MISCELLANEOUS | MISCELLANEOUS | lot | 1 | 4879.1826 | 4879.1826
TESTING & COMMISIONING | TESTING & COMMISIONING | lot | 1 | 34672.5332 | 34672.5332
III.A | AIR CONDITIONING- VRV SYSTEM C
AIR CONDITIONING- VRV SYSTEM C | ACCU- Model: RXQ18BYM | units | 3 | 466699.9977 | 1400099.9932
AIR CONDITIONING- VRV SYSTEM C | FCU- 2 HP Wall Mounted VRF C (Storage Room, OR No. 8 Ortho, NSS/Pay, OR No. 9 Plastic Surgery (2) ) Model: FXAQ50BVM | units | 1 | 34692.6577 | 34692.6577
AIR CONDITIONING- VRV SYSTEM C | FCU- 2.5HP Wall Mounted VRF C (OR No. 4, Euro- Endo (2), OR No. 7 Ortho, OR. 12 Pedia, OR No. 10 Pay) Model: FXAQ63BVM | units | 7 | 35407.7804 | 247854.4626
AIR CONDITIONING- VRV SYSTEM C | FCU- 6HP ceiling Cassette VRF C (Corridor near Ortho, Corridor near OR. No. 10, Corridor near NSS/Pay) Model: FXFQ140AVM | units | 2 | 55124.685 | 110249.37
Accessories:
ACU Accessories: | Wired Remote Controller Model: BRC1E63 | units | 10 | 7406.6134 | 74066.1344
ACU Accessories: | Standard panel(Fresh white) Model: BYCQ125EAF | units | 2 | 14072.5668 | 28145.1336
ACU Accessories: | Refnet Joints Model: KHRP26A33T | units | 2 | 3110.7824 | 6221.5649
ACU Accessories: | Refnet Joints Model: KHRP26A72T | units | 4 | 5184.6332 | 20738.5328
ACU Accessories: | Refnet Joints Model: KHRP26A73T | units | 3 | 8887.9399 | 26663.8197
ACU Accessories: | Pipe Size Reducer Model: KHRP26M73TP | units | 3 | 3777.3746 | 11332.1239
ACU Accessories: | VRV Multi Con piping kit Model: BHFP22R168-7 | units | 1 | 25034.3449 | 25034.3449
Copper Pipes - Type L Hard Drawn Pipes
Copper Pipes - Type L Hard Drawn Pipes | 1/4" | length/s | 1 | 1335.3319 | 1335.3319
Copper Pipes - Type L Hard Drawn Pipes | 3/8" | length/s | 11 | 1859.3177 | 20452.495
Copper Pipes - Type L Hard Drawn Pipes | 1/2" | length/s | 2 | 2958.0052 | 5916.0104
Copper Pipes - Type L Hard Drawn Pipes | 5/8" | length/s | 14 | 4267.3274 | 59742.5832
Copper Pipes - Type L Hard Drawn Pipes | 3/4" | length/s | 9 | 5442.7278 | 48984.5501
Copper Pipes - Type L Hard Drawn Pipes | 7/8" | length/s | 1 | 6845.6661 | 6845.6661
Copper Pipes - Type L Hard Drawn Pipes | 1-1/8" | length/s | 5 | 9803.665 | 49018.325
Copper Pipes - Type L Hard Drawn Pipes | 1-3/8" | length/s | 3 | 13234.9402 | 39704.8205
Copper Pipes - Type L Hard Drawn Pipes | 1-5/8" | length/s | 7 | 17028.985 | 119202.8947
Copper Pipes Insulation 25mm Thick
Copper Pipes Insulation 25mm Thick | 1/4" | length/s | 2 | 273.0518 | 546.1035
Copper Pipes Insulation 25mm Thick | 3/8" | length/s | 21 | 278.2537 | 5843.328
Copper Pipes Insulation 25mm Thick | 1/2" | length/s | 4 | 325.0586 | 1300.2345
Copper Pipes Insulation 25mm Thick | 5/8" | length/s | 27 | 396.5759 | 10707.5503
Copper Pipes Insulation 25mm Thick | 3/4" | length/s | 17 | 445.9818 | 7581.691
Copper Pipes Insulation 25mm Thick | 7/8" | length/s | 2 | 494.0904 | 988.1808
Copper Pipes Insulation 25mm Thick | 1-1/8" | length/s | 10 | 533.0987 | 5330.9867
Copper Pipes Insulation 25mm Thick | 1-3/8" | length/s | 5 | 564.2978 | 2821.4888
Copper Pipes Insulation 25mm Thick | 1-5/8" | length/s | 13 | 637.1187 | 8282.543
Copper Pipe Fittings | Copper Pipe Fittings | lot | 1 | 37241.8693 | 37241.8693
Isolation Ball Valves | Isolation Ball Valves | pc/s | 20 | 2019.9924 | 40399.8471
PVC Cladding Works | PVC Cladding Works | lot | 1 | 12413.9585 | 12413.9585
Concrete Pad | Concrete Pad | pcs | 3 | 6059.9582 | 18179.8745
Condensate Drain Pipes
Condensate Drain Pipes | 32mm dia. uPVC blue pipe PNS 65 | length/s | 33 | 254.5238 | 8399.2845
Condensate Drain Pipes | 50mm dia. PVC blue uPVC blue pipe PNS 65 | length/s | 12 | 404.2088 | 4850.5058
Condensate Drain Pipes Rubber Insulation 1.5 meters
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 32mm pvc | length/s | 66 | 269.3361 | 17776.1821
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 50mm pvc | length/s | 23 | 511.7367 | 11769.9438
Drain Pump
(5.0m pump Lift) Model: BDU513A450VE | (5.0m pump Lift) Model: BDU513A450VE | pcs | 11 | 19191.2499 | 211103.7489
Fittings
Fittings | Wye Reducer 50 x 32 | length/s | 7 | 121.2066 | 848.4462
Fittings | Tee 32mm | length/s | 6 | 33.6741 | 202.0446
Fittings | Elbow 32mm | length/s | 7 | 27.4771 | 192.3397
Fittings | Cleanout 50mm | length/s | 2 | 134.6712 | 269.3424
RELATED ELECTRICAL WORKS
Rough-ins
Rough-ins | liquid-tight metallic flexible conduits 1-1/2" | m | 78 | 254.5238 | 19852.8543
Rough-ins | Metallic Flexible Conduit 20mm | m | 444 | 41.4833 | 18418.5909
Rough-ins | Metallic Flexible Conduit Connector 20mm | pcs | 26 | 20.2095 | 525.4469
Cables / Wires
Cables / Wires | Communication wire (PD Royal Cord 0.75mm/2C) | m | 291 | 50.9111 | 14815.1162
Cables / Wires | Wire 3.5mm² THHN (5 meters per Unit) | m | 63 | 49.4311 | 3114.158
Cables / Wires | Wire 5.5mm² THHN (5 meters per Unit) | m | 26 | 75.6423 | 1966.7008
Cables / Wires | Wire 30.0mm² THHN (5 meters per Unit) | m | 59 | 497.1889 | 29334.1435
for ground:
Cables / Wires | Wire 3.5mm² THHN (G) (5 meters per Unit) | m | 65 | 49.4311 | 3213.0202
Cables / Wires | Wire 8.0mm² THHN (G) (5 meters per Unit) | m | 20 | 118.3222 | 2366.4445
CONSUMABLES
CONSUMABLES | Vibration Isolator | pcs | 14 | 1021.2198 | 14297.0776
CONSUMABLES | Angle Bar, 2x2x 1/4 (6 meters) | length/s | 5 | 1853.9059 | 9269.5293
CONSUMABLES | Rugby | bottle | 11 | 204.2498 | 2246.7483
CONSUMABLES | White Tape | rolls | 21 | 274.9537 | 5774.0275
CONSUMABLES | Threaded rod 3/8 (6 meters) | length/s | 46 | 125.6916 | 5781.8157
CONSUMABLES | Nuts and washer 3/8 | pcs | 22 | 15.716 | 345.7531
CONSUMABLES | Grip Anchor 3/8 | pcs | 22 | 7.8617 | 172.9573
CONSUMABLES | Paint (Red Oxide) | gallon | 1 | 2521.6211 | 2521.6211
CONSUMABLES | Loop Hangers | pcs | 171 | 31.4321 | 5374.8884
CONSUMABLES | Freon | tank | 4 | 10652.0639 | 42608.2557
CONSUMABLES | Nitrogen | tank | 2 | 13354.3498 | 26708.6996
CONSUMABLES | Mapp Gas | tank | 6 | 597.0261 | 3582.1568
CONSUMABLES | Silver Rod | pcs | 69 | 39.2864 | 2710.7648
CONSUMABLES | Paint Brush | pcs | 1 | 157.1164 | 157.1164
CHIPPING & RESTORATION (ROUGH-ONLY) | CHIPPING & RESTORATION (ROUGH-ONLY) | lot | 1 | 541758.2826 | 541758.2826
MISCELLANEOUS | MISCELLANEOUS | lot | 1 | 3681.3979 | 3681.3979
TESTING & COMMISIONING | TESTING & COMMISSIONING | lot | 1 | 28171.4309 | 28171.4309
AIR CONDITIONING- VRV SYSTEM D
AIR CONDITIONING- VRV SYSTEM D | ACCU- Model: RXQ20BYM | units | 3 | 497092.6364 | 1491277.9092
AIR CONDITIONING- VRV SYSTEM D | FCU- 2 HP Wall Mounted VRF C (Storage Room, OR No. 8 Ortho, NSS/Pay, OR No. 9 Plastic Surgery (2) ) Model: FXAQ50BVM | units | 6 | 34692.6577 | 208155.9461
AIR CONDITIONING- VRV SYSTEM D | FCU- 2.5HP Wall Mounted VRF C (OR No. 4, Euro- Endo (2), OR No. 7 Ortho, OR. 12 Pedia, OR No. 10 Pay) Model: FXAQ63BVM | units | 4 | 35407.7804 | 141631.1215
AIR CONDITIONING- VRV SYSTEM D | FCU- 6HP ceiling Cassette VRF C (Corridor near Ortho, Corridor near OR. No. 10, Corridor near NSS/Pay) Model: FXFQ140AVM | units | 2 | 55124.685 | 110249.37
Accessories:
ACU Accessories: | Wired Remote Controller Model: BRC1E63 | units | 12 | 7406.6134 | 88879.3613
ACU Accessories: | Standard panel(Fresh white) Model: BYCQ125EAF | units | 2 | 14072.5668 | 28145.1336
ACU Accessories: | Refnet Joints Model: KHRP26A22T | units | 4 | 2740.4492 | 10961.797
ACU Accessories: | Refnet Joints Model: KHRP26A33T | units | 1 | 3110.7824 | 3110.7824
ACU Accessories: | Refnet Joints Model: KHRP26A72T | units | 3 | 5184.6332 | 15553.8996
ACU Accessories: | Refnet Joints Model: KHRP26A73T | units | 3 | 8887.9399 | 26663.8197
ACU Accessories: | Pipe Size Reducer Model: KHRP26M73TP | units | 3 | 3777.3746 | 11332.1239
ACU Accessories: | VRV Multi Con piping kit Model: BHFP22R168-7 | units | 1 | 25034.3449 | 25034.3449
Copper Pipes - Type L Hard Drawn Pipes
Copper Pipes - Type L Hard Drawn Pipes | 1/4" | length/s | 8 | 1335.3319 | 10682.6553
Copper Pipes - Type L Hard Drawn Pipes | 3/8" | length/s | 12 | 1859.3177 | 22311.8127
Copper Pipes - Type L Hard Drawn Pipes | 1/2" | length/s | 10 | 2958.0052 | 29580.0519
Copper Pipes - Type L Hard Drawn Pipes | 5/8" | length/s | 14 | 4267.3274 | 59742.5832
Copper Pipes - Type L Hard Drawn Pipes | 3/4" | length/s | 16 | 5442.7278 | 87083.6446
Copper Pipes - Type L Hard Drawn Pipes | 7/8" | length/s | 2 | 6845.6661 | 13691.3322
Copper Pipes - Type L Hard Drawn Pipes | 1-1/8" | length/s | 5 | 9803.665 | 49018.325
Copper Pipes - Type L Hard Drawn Pipes | 1-3/8" | length/s | 2 | 13234.9402 | 26469.8804
Copper Pipes - Type L Hard Drawn Pipes | 1-5/8" | length/s | 14 | 17028.985 | 238405.7894
Copper Pipes Insulation 25mm Thick
Copper Pipes Insulation 25mm Thick | 1/4" | length/s | 16 | 273.0518 | 4368.8283
Copper Pipes Insulation 25mm Thick | 3/8" | length/s | 24 | 278.2537 | 6678.0891
Copper Pipes Insulation 25mm Thick | 1/2" | length/s | 19 | 325.0586 | 6176.114
Copper Pipes Insulation 25mm Thick | 5/8" | length/s | 27 | 396.5759 | 10707.5503
Copper Pipes Insulation 25mm Thick | 3/4" | length/s | 31 | 445.9818 | 13825.4366
Copper Pipes Insulation 25mm Thick | 7/8" | length/s | 4 | 494.0904 | 1976.3615
Copper Pipes Insulation 25mm Thick | 1-1/8" | length/s | 10 | 533.0987 | 5330.9867
Copper Pipes Insulation 25mm Thick | 1-3/8" | length/s | 4 | 564.2978 | 2257.191
Copper Pipes Insulation 25mm Thick | 1-5/8" | length/s | 27 | 637.1187 | 17202.2047
Copper Pipe Fittings | Copper Pipe Fittings | lot | 1 | 60874.082 | 60874.082
Isolation Ball Valves | Isolation Ball Valves | pc/s | 24 | 2019.9924 | 48479.8165
PVC Cladding Works | PVC Cladding Works | lot | 1 | 20291.367 | 20291.367
Concrete Pad | Concrete Pad | pcs | 3 | 6059.9582 | 18179.8745
Condensate Drain Pipes
Condensate Drain Pipes | 32mm dia. uPVC blue pipe PNS 65 | length/s | 31 | 254.5238 | 7890.237
Condensate Drain Pipes | 50mm dia. PVC blue uPVC blue pipe PNS 65 | length/s | 38 | 404.2088 | 15359.935
Condensate Drain Pipes Rubber Insulation 1.5 meters
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 32mm pvc | length/s | 61 | 269.3361 | 16429.5017
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 50mm pvc | length/s | 75 | 511.7367 | 38380.2515
Drain Pump
(5.0m pump Lift) Model: BDU513A450VE | (5.0m pump Lift) Model: BDU513A450VE | pcs | 10 | 19191.2499 | 191912.499
Fittings
Fittings | Wye 50mm | length/s | 2 | 134.6712 | 269.3424
Fittings | Wye Reducer 50 x 32 | length/s | 11 | 121.2066 | 1333.2725
Fittings | Tee 32mm | length/s | 3 | 33.6741 | 101.0223
Fittings | Tee Reducer 50 x 32 | length/s | 3 | 127.9389 | 383.8167
Fittings | Elbow 32mm | length/s | 7 | 27.4771 | 192.3397
Fittings | Cleanout 50mm | length/s | 6 | 134.6712 | 808.0272
RELATED ELECTRICAL WORKS
Rough-ins
Rough-ins | liquid-tight metallic flexible conduits 2" | m | 78 | 480.7643 | 37499.6175
Rough-ins | Metallic Flexible Conduit 20mm | m | 654 | 41.4833 | 27130.0866
Rough-ins | Metallic Flexible Conduit Connector 20mm | pcs | 32 | 20.2095 | 646.7039
Cables / Wires
Cables / Wires | Communication wire (PD Royal Cord 0.75mm/2C) | m | 472 | 50.9111 | 24030.0167
Cables / Wires | Wire 3.5mm² THHN (5 meters per Unit) | m | 78 | 48.5242 | 3784.8878
Cables / Wires | Wire 5.5mm² THHN (5 meters per Unit) | m | 26 | 75.6423 | 1966.7008
Cables / Wires | Wire 38.0mm² THHN (5 meters per Unit) | m | 59 | 590.8554 | 34860.4677
for ground:
Cables / Wires | Wire 3.5mm² THHN (G) (5 meters per Unit) | m | 78 | 47.4599 | 3701.8708
Cables / Wires | Wire 14.0mm² THHN (G) (5 meters per Unit) | m | 20 | 195.8665 | 3917.3296
CONSUMABLES
CONSUMABLES | Vibration Isolator | pcs | 14 | 1021.2198 | 14297.0776
CONSUMABLES | Angle Bar, 2x2x 1/4 (6 meters) | length/s | 5 | 1853.9059 | 9269.5293
CONSUMABLES | Rugby | bottle | 17 | 204.2498 | 3472.2473
CONSUMABLES | White Tape | rolls | 33 | 274.9537 | 9073.4718
CONSUMABLES | Threaded rod 3/8 (6 meters) | length/s | 73 | 125.6916 | 9175.4902
CONSUMABLES | Nuts and washer 3/8 | pcs | 22 | 15.716 | 345.7531
CONSUMABLES | Grip Anchor 3/8 | pcs | 22 | 7.8617 | 172.9573
CONSUMABLES | Paint (Red Oxide) | gallon | 1 | 2521.6211 | 2521.6211
CONSUMABLES | Loop Hangers | pcs | 275 | 31.4321 | 8643.8263
CONSUMABLES | Freon | tank | 6 | 10652.0639 | 63912.3835
CONSUMABLES | Nitrogen | tank | 3 | 13354.3498 | 40063.0495
CONSUMABLES | Mapp Gas | tank | 8 | 597.0261 | 4776.2091
CONSUMABLES | Silver Rod | pcs | 111 | 39.2864 | 4360.7955
CONSUMABLES | Paint Brush | pcs | 1 | 157.1164 | 157.1164
CHIPPING & RESTORATION (ROUGH-ONLY) | CHIPPING & RESTORATION (ROUGH-ONLY) | lot | 1 | 541758.2826 | 541758.2826
MISCELLANEOUS | MISCELLANEOUS | lot | 1 | 5347.3577 | 5347.3577
TESTING & COMMISIONING | TESTING & COMMISSIONING | lot | 1 | 32505.504 | 32505.504
IV | ELECTRICAL WORKS
Electrical Works
I. | Service Entrance
II. | Feeder
Feeder Wire
Cables / Wires | 250mm² THHN | m | 508 | 5211.0271 | 2647201.7571
Cables / Wires | 200mm² THHN | m | 82 | 4047.7897 | 331918.7577
Cables / Wires | 38mm² THHN | m | 273 | 827.6678 | 225953.3012
for ground:
Cables / Wires | 80mm² THHN | m | 169 | 1564.8158 | 264453.8714
Cables / Wires | 30mm² THHN | m | 27 | 605.1964 | 16340.3034
Cables / Wires | 14mm² THHN | m | 91 | 263.6755 | 23994.4669
Roughing-ins
Roughing-ins | 90mm dia. IMC | length/s | 66 | 6834.2913 | 451063.226
Roughing-ins | 40mm dia. IMC | length/s | 31 | 1963.8815 | 60880.3251
III. | Panel Board & Pullbox
Panel Board & Pullbox | DP-Main | Assy | 1 | 567383.4566 | 567383.4566
Main CB: 1200AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 1 - 700AT, 3P
4 - 125AT, 3P
Panel Board & Pullbox | PP-System A | Assy | 1 | 92449.9712 | 92449.9712
Main CB: 125AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 2 - 40AT, 3P
3 - 40AT, 2P
9 - 30AT, 2P
Panel Board & Pullbox | PP-System B | Assy | 1 | 99386.6483 | 99386.6483
Main CB: 125AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 1 - 40AT, 3P
2 - 40AT, 2P
11 - 30AT, 2P
Panel Board & Pullbox | PP-System C | Assy | 1 | 88308.7742 | 88308.7742
Main CB: 125AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 2 - 40AT, 3P
7 - 40AT, 2P
5 - 30AT, 2P
Panel Board & Pullbox | PP-System D | Assy | 1 | 96597.6706 | 96597.6706
Main CB: 125AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 3 - 40AT, 3P
4 - 40AT, 2P
8 - 30AT, 2P
Panel Board & Pullbox | PP-Outdoor | Assy | 1 | 347954.0125 | 347954.0125
Main CB: 700AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 4 - 150AT, 3P
| Transformer | Assy | 1 | 685215.8811 | 685215.8811
Transformer | 500KVA Step Down Dry Type Transformer, 480V to 230V, 3P Floor mounted, Indoor Type, 60Hz, Nema1 "TRANSPHIL"
ECB | ECB 1250AT Nema 12 | pc | 1 | 221925.8711 | 221925.8711
Pullbox | Pullbox (350mm x 350mm x 200mm) | pc | 4 | 4069.1559 | 16276.6236
Wire Gutter | Wire Gutter | lot | 1 | 23566.4893 | 23566.4893
IV. | Mechanical System Power Supply
ECB's
ECB | ECB 150AT, 3P, 230V, Nema3R | pc | 3 | 21321.4456 | 63964.3369
ECB | ECB 40AT, 3P, 230V, Nema3R | pc | 5 | 8143.7195 | 40718.5975
ECB | ECB 40AT, 2P, 230V, Nema3R | pc | 11 | 6928.0071 | 76208.0786
ECB | ECB 30AT, 2P, 230V, Nema3R | pc | 16 | 6928.0071 | 110848.1144
Roughing-ins
Roughing-ins | 40mm dia. IMC | length/s | 34 | 1963.8815 | 66771.9695
Roughing-ins | 25mm dia. IMC | length/s | 702 | 1288.3118 | 904394.8971
Roughing-ins | Boxes
Roughing-ins | Junction boxes with cover | pc/s | 137 | 92.4668 | 12667.9501
Wires
Cables / Wires | 50mm² THHN | Lm/s | 300 | 1025.6209 | 307686.2724
Cables / Wires | 5.5mm² THHN | Lm/s | 4759 | 105.8978 | 503967.6385
for ground:
Cables / Wires | 14mm² THHN | Lm/s | 100 | 263.6755 | 26367.546
Cables / Wires | 5.5mm² THHN | Lm/s | 2230 | 105.8978 | 236152.0979
Chipping & Restoration Works (Rough only) | Chipping & Restoration Works (Rough only) | lot | 1 | 106861.1095 | 106861.1095
Hangers & Supports | Hangers & Supports | lot | 1 | 128233.3329 | 128233.3329
Miscelleneuos | Miscelleneuos | lot | 1 | 64116.6701 | 64116.6701
Testing & Commissioning | Testing & Commissioning | lot | 1 | 650109.9406 | 650109.9406
| TOTAL PROJECT COST |  |  |  | 27956884.69