## BOQ
PROJECT | : | Supply, Delivery, Installation, Testing, and Commissioning of VRF Air-Conditioning for 3rd Floor OR, Central Block, Building, Philippine General Hospital
LOCATION | : | PGH TAFT AVE., MANILA 1000
SUBJECT | : | DETAILED ESTIMATES FORM
Item No. | Description |  | Unit | Qty | UNIT COST | ESTIMATED | MARK-UPS IN PERCENT |  |  |  | TOTAL MARK-UP |  | VAT (5%) | TOTAL | TOTAL COST
[6 empty] | DIRECT COST | OCM (12%) |  | PROFIT (8%) |  |  | VALUE |  | INDIRECT COST
(1) | (2) |  | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15)
[12 empty] | (6)*(11) | [(6)+(12)] | (12) + (13) | (6) + (14)
I | GENERAL REQUIREMENTS
PERMITS, FEES, TAXES AND LICENSES
PERMITS, FEES, TAXES AND LICENSES | a. Barangay Permits |  | INDIRECT COST (15): by client
PERMITS, FEES, TAXES AND LICENSES | b. Local Government Permits |  | INDIRECT COST (15): by client
PERMITS, FEES, TAXES AND LICENSES | c. BFD Permits |  | INDIRECT COST (15): by client
PERMITS, FEES, TAXES AND LICENSES | d. DENR Permits |  | INDIRECT COST (15): by client
PERMITS, FEES, TAXES AND LICENSES | e. Permits and Fees |  | INDIRECT COST (15): by client
INSURANCES AND BONDS | INSURANCES AND BONDS
INSURANCES AND BONDS | a. Guarantee / Warranty Bonds |  | INDIRECT COST (15): Included
INSURANCES AND BONDS | b. Contractor's All Risk Insurance (CARI) |  | INDIRECT COST (15): Included
INSURANCES AND BONDS | c. Performance Bond |  | INDIRECT COST (15): Included
INSURANCES AND BONDS | d. Other Insurances and Bonds |  | INDIRECT COST (15): Excluded
Mobilization and Demobilization | Mobilization and Demobilization |  | lot | 1 | 98313.3333 | 98313.3333 | 0% | 0 | 0% | 0 | 0% | 0 | 4915.6667 | 4915.6667 | 103229
Site Management Work
Site Management Work | a. Project Management |  | lot | 1 | 646643.8095 | 646643.8095 | 0% | 0 | 0% | 0 | 0% | 0 | 32332.1905 | 32332.1905 | 678976
Site Management Work | b. Admin Support - Accounting, Procurement, Logistics |  | lot | 1 | 266266.6667 | 266266.6667 | 0% | 0 | 0% | 0 | 0% | 0 | 13313.3333 | 13313.3333 | 279580
Site Management Work | c.Quality Management |  | lot | 1 | 266266.6667 | 266266.6667 | 0% | 0 | 0% | 0 | 0% | 0 | 13313.3333 | 13313.3333 | 279580
Site Management Work | d. Engineering Management - Clarifications & Drawings |  | lot | 1 | 304303.8095 | 304303.8095 | 0% | 0 | 0% | 0 | 0% | 0 | 15215.1905 | 15215.1905 | 319519
Temporary Works
Temporary Works | a. Site Office |  | (3): lot; (4): 1; INDIRECT COST (15): Excluded
Temporary Works | b. Warehouse |  | lot | 1 | 49157.1429 | 49157.1429 | 0% | 0 | 0% | 0 | 0% | 0 | 2457.8571 | 2457.8571 | 51615
Temporary Works | b. Site Office Materials & Communication |  | lot | 1 | 14044.7619 | 14044.7619 | 0% | 0 | 0% | 0 | 0% | 0 | 702.2381 | 702.2381 | 14747
Temporary Works | c. Temporary Tools & Cleaning Materials |  | lot | 1 | 7022.8571 | 7022.8571 | 0% | 0 | 0% | 0 | 0% | 0 | 351.1429 | 351.1429 | 7374
Temporary Works | b. Off-site Barracks - Construction and-or Rent - Electric Consumption - Water Consumption |  | lot | 1 | 175560 | 175560 | 0% | 0 | 0% | 0 | 0% | 0 | 8778 | 8778 | 184338
Temporary Utilities
Temporary Utilities | a. On-Site Water Consumption |  | (3): lot; (4): 1; INDIRECT COST (15): By Client
Temporary Utilities | b. On-Site Electric Consumption |  | (3): lot; (4): 1; INDIRECT COST (15): By Client
Security, Safety and Protection
Security, Safety and Protection | a. Safety Officer |  | lot | 1 | 316006.6667 | 316006.6667 | 0% | 0 | 0% | 0 | 0% | 0 | 15800.3333 | 15800.3333 | 331807
Security, Safety and Protection | b. Personal Protective Equipment (PPE's) |  | lot | 1 | 70223.8095 | 70223.8095 | 0% | 0 | 0% | 0 | 0% | 0 | 3511.1905 | 3511.1905 | 73735
Security, Safety and Protection | b. Security Guards |  | (3): lot; (4): 1; INDIRECT COST (15): Excluded
Quality Standard and Control
Quality Standard and Control | a. Shopdrawings, As-built plans for Occupancy including Sign & Seal |  | lot | 1 | 112358.0952 | 112358.0952 | 0% | 0 | 0% | 0 | 0% | 0 | 5617.9048 | 5617.9048 | 117976
Quality Standard and Control | b. Material Testing |  | (3): lot; (4): 1; INDIRECT COST (15): Included
Transportation
Transportation | a. Manpower Service |  | lot | 1 | 140447.619 | 140447.619 | 0% | 0 | 0% | 0 | 0% | 0 | 7022.381 | 7022.381 | 147470
Transportation | b. Engineer Transportation |  | lot | 1 | 105336.1905 | 105336.1905 | 0% | 0 | 0% | 0 | 0% | 0 | 5266.8095 | 5266.8095 | 110603
Transportation | c. Village Delivery/Gate Pass Fees | bar: INDIRECT COST (15)
[6 empty] | 2571951.4286 | [7 empty] | 128597.5714 | 2700549
III | MECHANICAL WORKS
Mechanical Works
I-A. | AIR CONDITIONING- VRV SYSTEM A
AIR CONDITIONING- VRV SYSTEM A | ACCU- 18HP Model: RXQ18BYM |  | units | 3 | 588141.0397 | 1764423.119 | 12% | 211730.7743 | 8% | 141153.8495 | 20% | 352884.6238 | 105865.3871 | 458750.011 | 2223173.13
AIR CONDITIONING- VRV SYSTEM A | FCU- 2 HP Wall Mounted VRF A (OR No. 2, PNCOU, OR No.3, OR, Pantry, OR Complex Conference Room) Model: FXAQ50BVM |  | units | 6 | 43720.1111 | 262320.6667 | 12% | 31478.48 | 8% | 20985.6533 | 20% | 52464.1333 | 15739.24 | 68203.3733 | 330524.04
AIR CONDITIONING- VRV SYSTEM A | FCU- 2.5HP Wall Mounted VRF A (OR No. 2 ENT, OR No. 1 ENT, Chief Nurse, OR Pharmacy) Model: FXAQ63BVM |  | units | 3 | 44621.3175 | 133863.9524 | 12% | 16063.6743 | 8% | 10709.1162 | 20% | 26772.7905 | 8031.8371 | 34804.6276 | 168668.58
AIR CONDITIONING- VRV SYSTEM A | FCU- 6HP ceiling Cassette VRF A (Corridor Near OR No.1, Corridor Near OR No. 2 ENT) Model: FXFQ140AVM |  | units | 2 | 69468.8016 | 138937.6032 | 12% | 16672.5124 | 8% | 11115.0083 | 20% | 27787.5206 | 8336.2562 | 36123.7768 | 175061.38
ACU Accessories:
ACU Accessories: | Navigation Wired Controller Model: BRC1E63 |  | units | 11 | 9333.9048 | 102672.9524 | 12% | 12320.7543 | 8% | 8213.8362 | 20% | 20534.5905 | 6160.3771 | 26694.9676 | 129367.92
ACU Accessories: | Standard panel(Fresh white) Model: BYCQ125EAF |  | units | 2 | 17734.4206 | 35468.8413 | 12% | 4256.261 | 8% | 2837.5073 | 20% | 7093.7683 | 2128.1305 | 9221.8987 | 44690.74
ACU Accessories: | Refnet Joints Model: KHRP26A22T |  | units | 2 | 3453.5476 | 6907.0952 | 12% | 828.8514 | 8% | 552.5676 | 20% | 1381.419 | 414.4257 | 1795.8448 | 8702.94
ACU Accessories: | Refnet Joints Model: KHRP26A33T |  | units | 2 | 3920.246 | 7840.4921 | 12% | 940.859 | 8% | 627.2394 | 20% | 1568.0984 | 470.4295 | 2038.5279 | 9879.02
ACU Accessories: | Refnet Joints Model: KHRP26A732T |  | units | 3 | 6533.7381 | 19601.2143 | 12% | 2352.1457 | 8% | 1568.0971 | 20% | 3920.2429 | 1176.0729 | 5096.3157 | 24697.53
ACU Accessories: | Refnet Joints Model: KHRP26A733T |  | units | 3 | 11200.6905 | 33602.0714 | 12% | 4032.2486 | 8% | 2688.1657 | 20% | 6720.4143 | 2016.1243 | 8736.5386 | 42338.61
ACU Accessories: | Pipe Size Reducer Model: KHRP26M73TP |  | units | 3 | 4760.2937 | 14280.881 | 12% | 1713.7057 | 8% | 1142.4705 | 20% | 2856.1762 | 856.8529 | 3713.029 | 17993.91
ACU Accessories: | VRV Multi Con piping kit Model: BHFP22R168-7 |  | units | 1 | 31548.5873 | 31548.5873 | 12% | 3785.8305 | 8% | 2523.887 | 20% | 6309.7175 | 1892.9152 | 8202.6327 | 39751.22
Copper Pipes - Type L Hard Drawn Pipes
Copper Pipes - Type L Hard Drawn Pipes | 1/4" |  | length/s | 10 | 1682.8016 | 16828.0159 | 12% | 2019.3619 | 8% | 1346.2413 | 20% | 3365.6032 | 1009.681 | 4375.2841 | 21203.3
Copper Pipes - Type L Hard Drawn Pipes | 3/8" |  | length/s | 13 | 2343.1349 | 30460.754 | 12% | 3655.2905 | 8% | 2436.8603 | 20% | 6092.1508 | 1827.6452 | 7919.796 | 38380.55
Copper Pipes - Type L Hard Drawn Pipes | 1/2" |  | length/s | 14 | 3727.7143 | 52188 | 12% | 6262.56 | 8% | 4175.04 | 20% | 10437.6 | 3131.28 | 13568.88 | 65756.88
Copper Pipes - Type L Hard Drawn Pipes | 5/8" |  | length/s | 9 | 5377.7381 | 48399.6429 | 12% | 5807.9571 | 8% | 3871.9714 | 20% | 9679.9286 | 2903.9786 | 12583.9071 | 60983.55
Copper Pipes - Type L Hard Drawn Pipes | 3/4" |  | length/s | 9 | 6858.9921 | 61730.9286 | 12% | 7407.7114 | 8% | 4938.4743 | 20% | 12346.1857 | 3703.8557 | 16050.0414 | 77780.97
Copper Pipes - Type L Hard Drawn Pipes | 7/8" |  | length/s | 2 | 8626.9921 | 17253.9841 | 12% | 2070.4781 | 8% | 1380.3187 | 20% | 3450.7968 | 1035.239 | 4486.0359 | 21740.02
Copper Pipes - Type L Hard Drawn Pipes | 1-1/8" |  | length/s | 8 | 12354.6984 | 98837.5873 | 12% | 11860.5105 | 8% | 7907.007 | 20% | 19767.5175 | 5930.2552 | 25697.7727 | 124535.36
Copper Pipes - Type L Hard Drawn Pipes | 1-3/8" |  | length/s | 5 | 16678.8333 | 83394.1667 | 12% | 10007.3 | 8% | 6671.5333 | 20% | 16678.8333 | 5003.65 | 21682.4833 | 105076.65
Copper Pipes - Type L Hard Drawn Pipes | 1-5/8" |  | length/s | 4 | 16678.8333 | 66715.3333 | 12% | 8005.84 | 8% | 5337.2267 | 20% | 13343.0667 | 4002.92 | 17345.9867 | 84061.32
Copper Pipes Insulation 25mm Thick
Copper Pipes Insulation 25mm Thick | 1/4" |  | length/s | 19 | 344.1032 | 6537.9603 | 12% | 784.5552 | 8% | 523.0368 | 20% | 1307.5921 | 392.2776 | 1699.8697 | 8237.83
Copper Pipes Insulation 25mm Thick | 3/8" |  | length/s | 26 | 350.6587 | 9117.127 | 12% | 1094.0552 | 8% | 729.3702 | 20% | 1823.4254 | 547.0276 | 2370.453 | 11487.58
Copper Pipes Insulation 25mm Thick | 1/2" |  | length/s | 27 | 409.6429 | 11060.3571 | 12% | 1327.2429 | 8% | 884.8286 | 20% | 2212.0714 | 663.6214 | 2875.6929 | 13936.05
Copper Pipes Insulation 25mm Thick | 5/8" |  | length/s | 18 | 499.7698 | 8995.8571 | 12% | 1079.5029 | 8% | 719.6686 | 20% | 1799.1714 | 539.7514 | 2338.9229 | 11334.78
Copper Pipes Insulation 25mm Thick | 3/4" |  | length/s | 17 | 562.0317 | 9554.5397 | 12% | 1146.5448 | 8% | 764.3632 | 20% | 1910.9079 | 573.2724 | 2484.1803 | 12038.72
Copper Pipes Insulation 25mm Thick | 7/8" |  | length/s | 4 | 622.6587 | 2490.6349 | 12% | 298.8762 | 8% | 199.2508 | 20% | 498.127 | 149.4381 | 647.5651 | 3138.2
Copper Pipes Insulation 25mm Thick | 1-1/8" |  | length/s | 15 | 671.8175 | 10077.2619 | 12% | 1209.2714 | 8% | 806.181 | 20% | 2015.4524 | 604.6357 | 2620.0881 | 12697.35
Copper Pipes Insulation 25mm Thick | 1-3/8" |  | length/s | 10 | 711.1349 | 7111.3492 | 12% | 853.3619 | 8% | 568.9079 | 20% | 1422.2698 | 426.681 | 1848.9508 | 8960.3
Copper Pipes Insulation 25mm Thick | 1-5/8" |  | length/s | 8 | 711.1349 | 5689.0794 | 12% | 682.6895 | 8% | 455.1263 | 20% | 1137.8159 | 341.3448 | 1479.1606 | 7168.24
Copper Pipe Fittings | Copper Pipe Fittings |  | lot | 1 | 46012.6349 | 46012.6349 | 12% | 5521.5162 | 8% | 3681.0108 | 20% | 9202.527 | 2760.7581 | 11963.2851 | 57975.92
Isolation Ball Valves | Isolation Ball Valves |  | pc/s | 22 | 2545.619 | 56003.619 | 12% | 6720.4343 | 8% | 4480.2895 | 20% | 11200.7238 | 3360.2171 | 14560.941 | 70564.56
PVC Cladding Works | PVC Cladding Works |  | lot | 1 | 17684.0079 | 17684.0079 | 12% | 2122.081 | 8% | 1414.7206 | 20% | 3536.8016 | 1061.0405 | 4597.8421 | 22281.85
Concrete Pad | Concrete Pad |  | pcs | 3 | 7636.8333 | 22910.5 | 12% | 2749.26 | 8% | 1832.84 | 20% | 4582.1 | 1374.63 | 5956.73 | 28867.23
Condensate Drain Pipes
Condensate Drain Pipes | 32mm dia. uPVC blue pipe PNS 65 |  | length/s | 39 | 320.754 | 12509.4048 | 12% | 1501.1286 | 8% | 1000.7524 | 20% | 2501.881 | 750.5643 | 3252.4452 | 15761.85
Condensate Drain Pipes | 50mm dia. PVC blue uPVC blue pipe PNS 65 |  | length/s | 22 | 509.3889 | 11206.5556 | 12% | 1344.7867 | 8% | 896.5244 | 20% | 2241.3111 | 672.3933 | 2913.7044 | 14120.26
Condensate Drain Pipes Rubber Insulation 1.5 meters
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 32mm pvc |  | length/s | 77 | 339.4206 | 26135.3889 | 12% | 3136.2467 | 8% | 2090.8311 | 20% | 5227.0778 | 1568.1233 | 6795.2011 | 32930.59
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 50mm pvc |  | length/s | 43 | 644.8968 | 27730.5635 | 12% | 3327.6676 | 8% | 2218.4451 | 20% | 5546.1127 | 1663.8338 | 7209.9465 | 34940.51
Drain Pump
(5.0m pump Lift) Model: BDU513A450VE | (5.0m pump Lift) Model: BDU513A450VE |  | pcs | 9 | 24185.0476 | 217665.4286 | 12% | 26119.8514 | 8% | 17413.2343 | 20% | 43533.0857 | 13059.9257 | 56593.0114 | 274258.44
Fittings
Fittings | Wye Reducer 50 x 32 |  | pcs | 11 | 152.746 | 1680.2063 | 12% | 201.6248 | 8% | 134.4165 | 20% | 336.0413 | 100.8124 | 436.8537 | 2117.06
Fittings | Tee 32mm |  | pcs | 2 | 42.4365 | 84.873 | 12% | 10.1848 | 8% | 6.7898 | 20% | 16.9746 | 5.0924 | 22.067 | 106.94
Fittings | Tee Reducer 50 x 32 |  | pcs | 2 | 161.2302 | 322.4603 | 12% | 38.6952 | 8% | 25.7968 | 20% | 64.4921 | 19.3476 | 83.8397 | 406.3
Fittings | Elbow 32mm |  | pcs | 6 | 34.627 | 207.7619 | 12% | 24.9314 | 8% | 16.621 | 20% | 41.5524 | 12.4657 | 54.0181 | 261.78
Fittings | Cleanout 50mm |  | pcs | 4 | 169.7143 | 678.8571 | 12% | 81.4629 | 8% | 54.3086 | 20% | 135.7714 | 40.7314 | 176.5029 | 855.36
RELATED ELECTRICAL WORKS
Rough-ins
Rough-ins | liquid-tight metallic flexible conduits 1-1/2" |  | m | 78 | 320.754 | 25018.8095 | 12% | 3002.2571 | 8% | 2001.5048 | 20% | 5003.7619 | 1501.1286 | 6504.8905 | 31523.7
Rough-ins | Metallic Flexible Conduit 20mm |  | m | 586 | 52.2778 | 30634.7778 | 12% | 3676.1733 | 8% | 2450.7822 | 20% | 6126.9556 | 1838.0867 | 7965.0422 | 38599.82
Rough-ins | Metallic Flexible Conduit Connector 20mm |  | pcs | 29 | 25.4683 | 738.5794 | 12% | 88.6295 | 8% | 59.0863 | 20% | 147.7159 | 44.3148 | 192.0306 | 930.61
Cables / Wires
Cables / Wires | Communication wire (PD Royal Cord 0.75mm/2C) |  | m | 419 | 64.1587 | 26882.5079 | 12% | 3225.901 | 8% | 2150.6006 | 20% | 5376.5016 | 1612.9505 | 6989.4521 | 33871.96
Cables / Wires | Wire 3.5mm² THHN (5 meters per Unit) |  | m | 71 | 62.2857 | 4422.2857 | 12% | 530.6743 | 8% | 353.7829 | 20% | 884.4571 | 265.3371 | 1149.7943 | 5572.08
Cables / Wires | Wire 5.5mm² THHN (5 meters per Unit) |  | m | 26 | 95.3254 | 2478.4603 | 12% | 297.4152 | 8% | 198.2768 | 20% | 495.6921 | 148.7076 | 644.3997 | 3122.86
Cables / Wires | Wire 30.0mm² THHN (5 meters per Unit) |  | m | 59 | 627.246 | 37007.5159 | 12% | 4440.9019 | 8% | 2960.6013 | 20% | 7401.5032 | 2220.451 | 9621.9541 | 46629.47
for ground:
Cables / Wires | Wire 3.5mm² THHN (G) (5 meters per Unit) |  | m | 72 | 62.2857 | 4484.5714 | 12% | 538.1486 | 8% | 358.7657 | 20% | 896.9143 | 269.0743 | 1165.9886 | 5650.56
Cables / Wires | Wire 8.0mm² THHN (G) (5 meters per Unit) |  | m | 20 | 149.1111 | 2982.2222 | 12% | 357.8667 | 8% | 238.5778 | 20% | 596.4444 | 178.9333 | 775.3778 | 3757.6
I-B. | CONSUMABLES
CONSUMABLES | Vibration Isolator |  | pcs | 20 | 1103.1032 | 22062.0635 | 12% | 2647.4476 | 8% | 1764.9651 | 20% | 4412.4127 | 1323.7238 | 5736.1365 | 27798.2
CONSUMABLES | Angle Bar, 2x2x 1/4 (6 meters) |  | length/s | 7 | 2002.5556 | 14017.8889 | 12% | 1682.1467 | 8% | 1121.4311 | 20% | 2803.5778 | 841.0733 | 3644.6511 | 17662.54
CONSUMABLES | Rugby |  | bottle | 21 | 220.627 | 4633.1667 | 12% | 555.98 | 8% | 370.6533 | 20% | 926.6333 | 277.99 | 1204.6233 | 5837.79
CONSUMABLES | White Tape |  | rolls | 42 | 297 | 12474 | 12% | 1496.88 | 8% | 997.92 | 20% | 2494.8 | 748.44 | 3243.24 | 15717.24
CONSUMABLES | Threaded rod 3/8 (6 meters) |  | length/s | 94 | 135.7698 | 12762.3651 | 12% | 1531.4838 | 8% | 1020.9892 | 20% | 2552.473 | 765.7419 | 3318.2149 | 16080.58
CONSUMABLES | Nuts and washer 3/8 |  | pcs | 32 | 16.9762 | 543.2381 | 12% | 65.1886 | 8% | 43.459 | 20% | 108.6476 | 32.5943 | 141.2419 | 684.48
CONSUMABLES | Grip Anchor 3/8 |  | pcs | 32 | 8.4921 | 271.746 | 12% | 32.6095 | 8% | 21.7397 | 20% | 54.3492 | 16.3048 | 70.654 | 342.4
CONSUMABLES | Paint (Red Oxide) |  | gallon | 1 | 2723.8095 | 2723.8095 | 12% | 326.8571 | 8% | 217.9048 | 20% | 544.7619 | 163.4286 | 708.1905 | 3432
CONSUMABLES | Loop Hangers |  | pcs | 351 | 33.9524 | 11917.2857 | 12% | 1430.0743 | 8% | 953.3829 | 20% | 2383.4571 | 715.0371 | 3098.4943 | 15015.78
CONSUMABLES | Freon |  | tank | 6 | 11506.1667 | 69037 | 12% | 8284.44 | 8% | 5522.96 | 20% | 13807.4 | 4142.22 | 17949.62 | 86986.62
CONSUMABLES | Nitrogen |  | tank | 3 | 14425.127 | 43275.381 | 12% | 5193.0457 | 8% | 3462.0305 | 20% | 8655.0762 | 2596.5229 | 11251.599 | 54526.98
CONSUMABLES | Mapp Gas |  | tank | 11 | 678.8333 | 7467.1667 | 12% | 896.06 | 8% | 597.3733 | 20% | 1493.4333 | 448.03 | 1941.4633 | 9408.63
CONSUMABLES | Silver Rod |  | pcs | 141 | 42.4365 | 5983.5476 | 12% | 718.0257 | 8% | 478.6838 | 20% | 1196.7095 | 359.0129 | 1555.7224 | 7539.27
CONSUMABLES | Paint Brush |  | pcs | 1 | 169.7143 | 169.7143 | 12% | 20.3657 | 8% | 13.5771 | 20% | 33.9429 | 10.1829 | 44.1257 | 213.84
CHIPPING & RESTORATION (ROUGH-ONLY) | CHIPPING & RESTORATION (ROUGH-ONLY) |  | lot | 1 | 585197.4921 | 585197.4921 | 12% | 70223.699 | 8% | 46815.7994 | 20% | 117039.4984 | 35111.8495 | 152151.3479 | 737348.84
MISCELLANEOUS | MISCELLANEOUS |  | lot | 1 | 4511.1587 | 4511.1587 | 12% | 541.339 | 8% | 360.8927 | 20% | 902.2317 | 270.6695 | 1172.9013 | 5684.06
TESTING & COMMISSIONING | TESTING & COMMISSIONING |  | lot | 1 | 32771.0635 | 32771.0635 | 12% | 3932.5276 | 8% | 2621.6851 | 20% | 6554.2127 | 1966.2638 | 8520.4765 | 41291.54
II.A | AIR CONDITIONING- VRV SYSTEM B
AIR CONDITIONING- VRV SYSTEM B | ACCU- Model: RXQ18BYM |  | units | 3 | 588141.0397 | 1764423.119 | 12% | 211730.7743 | 8% | 141153.8495 | 20% | 352884.6238 | 105865.3871 | 458750.011 | 2223173.13
AIR CONDITIONING- VRV SYSTEM B | FCU- 2 HP Wall Mounted VRF B (OR No. 1 and 3, OR No. 1 Miyake Eye (2), OR No. 2 NSS(2), OR No. 3 Euro-open (2), OR No. 8 Ortho, NSS/ Pay, Storage Room, OR Complex Conference Room) Model: FXAQ50BVM |  | units | 10 | 43720.1111 | 437201.1111 | 12% | 52464.1333 | 8% | 34976.0889 | 20% | 87440.2222 | 26232.0667 | 113672.2889 | 550873.4
AIR CONDITIONING- VRV SYSTEM B | FCU- 2.5HP Wall Mounted VRF B ( OR no. 4, 6, 13, 14, 15, OR Pharmacy) Model: FXAQ63BVM |  | units | 2 | 44621.3175 | 89242.6349 | 12% | 10709.1162 | 8% | 7139.4108 | 20% | 17848.527 | 5354.5581 | 23203.0851 | 112445.72
AIR CONDITIONING- VRV SYSTEM B | FCU- 6HP ceiling Cassette VRF B (Corridor near OR No. 2 NSS, Corridor Near Supply Room) Model: FXFQ140AVM |  | units | 1 | 69468.8016 | 69468.8016 | 12% | 8336.2562 | 8% | 5557.5041 | 20% | 13893.7603 | 4168.1281 | 18061.8884 | 87530.69
Accessories:
ACU Accessories: | Wired Remote Controller Model: BRC1E63 |  | units | 13 | 9333.9048 | 121340.7619 | 12% | 14560.8914 | 8% | 9707.261 | 20% | 24268.1524 | 7280.4457 | 31548.5981 | 152889.36
ACU Accessories: | Standard panel(Fresh white) Model: BYCQ125EAF |  | units | 1 | 17734.4206 | 17734.4206 | 12% | 2128.1305 | 8% | 1418.7537 | 20% | 3546.8841 | 1064.0652 | 4610.9494 | 22345.37
ACU Accessories: | Refnet Joints Model: KHRP26A22T |  | units | 6 | 3453.5476 | 20721.2857 | 12% | 2486.5543 | 8% | 1657.7029 | 20% | 4144.2571 | 1243.2771 | 5387.5343 | 26108.82
ACU Accessories: | Refnet Joints Model: KHRP26A33T |  | units | 1 | 3920.246 | 3920.246 | 12% | 470.4295 | 8% | 313.6197 | 20% | 784.0492 | 235.2148 | 1019.264 | 4939.51
ACU Accessories: | Refnet Joints Model: KHRP26A72T |  | units | 3 | 6533.7381 | 19601.2143 | 12% | 2352.1457 | 8% | 1568.0971 | 20% | 3920.2429 | 1176.0729 | 5096.3157 | 24697.53
ACU Accessories: | Refnet Joints Model: KHRP26A73T |  | units | 2 | 11200.6905 | 22401.381 | 12% | 2688.1657 | 8% | 1792.1105 | 20% | 4480.2762 | 1344.0829 | 5824.359 | 28225.74
ACU Accessories: | Pipe Size Reducer Model: KHRP26M73TP |  | units | 2 | 4760.2937 | 9520.5873 | 12% | 1142.4705 | 8% | 761.647 | 20% | 1904.1175 | 571.2352 | 2475.3527 | 11995.94
ACU Accessories: | VRV Multi Con piping kit Model: BHFP22R168-7 |  | units | 1 | 31548.5873 | 31548.5873 | 12% | 3785.8305 | 8% | 2523.887 | 20% | 6309.7175 | 1892.9152 | 8202.6327 | 39751.22
Copper Pipes - Type L Hard Drawn Pipes
Copper Pipes - Type L Hard Drawn Pipes | 1/4" |  | length/s | 14 | 1682.8016 | 23559.2222 | 12% | 2827.1067 | 8% | 1884.7378 | 20% | 4711.8444 | 1413.5533 | 6125.3978 | 29684.62
Copper Pipes - Type L Hard Drawn Pipes | 3/8" |  | length/s | 11 | 2343.1349 | 25774.4841 | 12% | 3092.9381 | 8% | 2061.9587 | 20% | 5154.8968 | 1546.469 | 6701.3659 | 32475.85
Copper Pipes - Type L Hard Drawn Pipes | 1/2" |  | length/s | 15 | 3727.7143 | 55915.7143 | 12% | 6709.8857 | 8% | 4473.2571 | 20% | 11183.1429 | 3354.9429 | 14538.0857 | 70453.8
Copper Pipes - Type L Hard Drawn Pipes | 5/8" |  | length/s | 12 | 5377.7381 | 64532.8571 | 12% | 7743.9429 | 8% | 5162.6286 | 20% | 12906.5714 | 3871.9714 | 16778.5429 | 81311.4
Copper Pipes - Type L Hard Drawn Pipes | 3/4" |  | length/s | 13 | 6858.9921 | 89166.8968 | 12% | 10700.0276 | 8% | 7133.3517 | 20% | 17833.3794 | 5350.0138 | 23183.3932 | 112350.29
Copper Pipes - Type L Hard Drawn Pipes | 7/8" |  | length/s | 1 | 8626.9921 | 8626.9921 | 12% | 1035.239 | 8% | 690.1594 | 20% | 1725.3984 | 517.6195 | 2243.0179 | 10870.01
Copper Pipes - Type L Hard Drawn Pipes | 1-1/8" |  | length/s | 5 | 12354.6984 | 61773.4921 | 12% | 7412.819 | 8% | 4941.8794 | 20% | 12354.6984 | 3706.4095 | 16061.1079 | 77834.6
Copper Pipes - Type L Hard Drawn Pipes | 1-3/8" |  | length/s | 1 | 21460.1349 | 21460.1349 | 12% | 2575.2162 | 8% | 1716.8108 | 20% | 4292.027 | 1287.6081 | 5579.6351 | 27039.77
Copper Pipes - Type L Hard Drawn Pipes | 1-5/8" |  | length/s | 12 | 21460.1349 | 257521.619 | 12% | 30902.5943 | 8% | 20601.7295 | 20% | 51504.3238 | 15451.2971 | 66955.621 | 324477.24
Copper Pipes Insulation 25mm Thick
Copper Pipes Insulation 25mm Thick | 1/4" |  | length/s | 27 | 344.1032 | 9290.7857 | 12% | 1114.8943 | 8% | 743.2629 | 20% | 1858.1571 | 557.4471 | 2415.6043 | 11706.39
Copper Pipes Insulation 25mm Thick | 3/8" |  | length/s | 21 | 350.6587 | 7363.8333 | 12% | 883.66 | 8% | 589.1067 | 20% | 1472.7667 | 441.83 | 1914.5967 | 9278.43
Copper Pipes Insulation 25mm Thick | 1/2" |  | length/s | 30 | 409.6429 | 12289.2857 | 12% | 1474.7143 | 8% | 983.1429 | 20% | 2457.8571 | 737.3571 | 3195.2143 | 15484.5
Copper Pipes Insulation 25mm Thick | 5/8" |  | length/s | 24 | 499.7698 | 11994.4762 | 12% | 1439.3371 | 8% | 959.5581 | 20% | 2398.8952 | 719.6686 | 3118.5638 | 15113.04
Copper Pipes Insulation 25mm Thick | 3/4" |  | length/s | 26 | 562.0317 | 14612.8254 | 12% | 1753.539 | 8% | 1169.026 | 20% | 2922.5651 | 876.7695 | 3799.3346 | 18412.16
Copper Pipes Insulation 25mm Thick | 7/8" |  | length/s | 2 | 622.6587 | 1245.3175 | 12% | 149.4381 | 8% | 99.6254 | 20% | 249.0635 | 74.719 | 323.7825 | 1569.1
Copper Pipes Insulation 25mm Thick | 1-1/8" |  | length/s | 9 | 671.8175 | 6046.3571 | 12% | 725.5629 | 8% | 483.7086 | 20% | 1209.2714 | 362.7814 | 1572.0529 | 7618.41
Copper Pipes Insulation 25mm Thick | 1-3/8" |  | length/s | 2 | 802.9048 | 1605.8095 | 12% | 192.6971 | 8% | 128.4648 | 20% | 321.1619 | 96.3486 | 417.5105 | 2023.32
Copper Pipes Insulation 25mm Thick | 1-5/8" |  | length/s | 24 | 802.9048 | 19269.7143 | 12% | 2312.3657 | 8% | 1541.5771 | 20% | 3853.9429 | 1156.1829 | 5010.1257 | 24279.84
Copper Pipe Fittings | Copper Pipe Fittings |  | lot | 1 | 69629.7302 | 69629.7302 | 12% | 8355.5676 | 8% | 5570.3784 | 20% | 13925.946 | 4177.7838 | 18103.7298 | 87733.46
Isolation Ball Valves | Isolation Ball Valves |  | pc/s | 26 | 2545.619 | 66186.0952 | 12% | 7942.3314 | 8% | 5294.8876 | 20% | 13237.219 | 3971.1657 | 17208.3848 | 83394.48
PVC Cladding Works | PVC Cladding Works |  | lot | 1 | 6535.5317 | 6535.5317 | 12% | 784.2638 | 8% | 522.8425 | 20% | 1307.1063 | 392.1319 | 1699.2383 | 8234.77
Concrete Pad | Concrete Pad |  | pcs | 3 | 7636.8333 | 22910.5 | 12% | 2749.26 | 8% | 1832.84 | 20% | 4582.1 | 1374.63 | 5956.73 | 28867.23
Condensate Drain Pipes
Condensate Drain Pipes | 32mm dia. uPVC blue pipe PNS 65 |  | length/s | 37 | 320.754 | 11867.8968 | 12% | 1424.1476 | 8% | 949.4317 | 20% | 2373.5794 | 712.0738 | 3085.6532 | 14953.55
Condensate Drain Pipes | 50mm dia. PVC blue uPVC blue pipe PNS 65 |  | length/s | 24 | 509.3889 | 12225.3333 | 12% | 1467.04 | 8% | 978.0267 | 20% | 2445.0667 | 733.52 | 3178.5867 | 15403.92
Condensate Drain Pipes Rubber Insulation 1.5 meters
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 32mm pvc |  | length/s | 74 | 339.4206 | 25117.127 | 12% | 3014.0552 | 8% | 2009.3702 | 20% | 5023.4254 | 1507.0276 | 6530.453 | 31647.58
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 50mm pvc |  | length/s | 48 | 644.8968 | 30955.0476 | 12% | 3714.6057 | 8% | 2476.4038 | 20% | 6191.0095 | 1857.3029 | 8048.3124 | 39003.36
Drain Pump
(5.0m pump Lift) Model: BDU513A450VE | (5.0m pump Lift) Model: BDU513A450VE |  | pcs | 12 | 24185.0476 | 290220.5714 | 12% | 34826.4686 | 8% | 23217.6457 | 20% | 58044.1143 | 17413.2343 | 75457.3486 | 365677.92
Fittings
Fittings | Wye 50mm |  | pcs | 3 | 169.7143 | 509.1429 | 12% | 61.0971 | 8% | 40.7314 | 20% | 101.8286 | 30.5486 | 132.3771 | 641.52
Fittings | Wye Reducer 50 x 32 |  | pcs | 13 | 152.746 | 1985.6984 | 12% | 238.2838 | 8% | 158.8559 | 20% | 397.1397 | 119.1419 | 516.2816 | 2501.98
Fittings | Tee 32mm |  | pcs | 3 | 42.4365 | 127.3095 | 12% | 15.2771 | 8% | 10.1848 | 20% | 25.4619 | 7.6386 | 33.1005 | 160.41
Fittings | Elbow 32mm |  | pcs | 6 | 34.627 | 207.7619 | 12% | 24.9314 | 8% | 16.621 | 20% | 41.5524 | 12.4657 | 54.0181 | 261.78
Fittings | Cleanout 50mm |  | pcs | 4 | 169.7143 | 678.8571 | 12% | 81.4629 | 8% | 54.3086 | 20% | 135.7714 | 40.7314 | 176.5029 | 855.36
RELATED ELECTRICAL WORKS
Rough-ins
Rough-ins | liquid-tight metallic flexible conduits 1-1/2" |  | m | 78 | 320.754 | 25018.8095 | 12% | 3002.2571 | 8% | 2001.5048 | 20% | 5003.7619 | 1501.1286 | 6504.8905 | 31523.7
Rough-ins | Metallic Flexible Conduit |  | m | 673 | 52.2778 | 35182.9444 | 12% | 4221.9533 | 8% | 2814.6356 | 20% | 7036.5889 | 2110.9767 | 9147.5656 | 44330.51
Rough-ins | Metallic Flexible Conduit Connector 20mm |  | pcs | 34 | 25.4683 | 865.9206 | 12% | 103.9105 | 8% | 69.2737 | 20% | 173.1841 | 51.9552 | 225.1394 | 1091.06
Cables / Wires
Cables / Wires | Communication wire (PD Royal Cord 0.75mm/2C) |  | m | 482 | 64.1587 | 30924.5079 | 12% | 3710.941 | 8% | 2473.9606 | 20% | 6184.9016 | 1855.4705 | 8040.3721 | 38964.88
Cables / Wires | Wire 3.5mm² THHN (5 meters per Unit) |  | m | 94 | 62.2857 | 5854.8571 | 12% | 702.5829 | 8% | 468.3886 | 20% | 1170.9714 | 351.2914 | 1522.2629 | 7377.12
Cables / Wires | Wire 5.5mm² THHN (5 meters per Unit) |  | m | 13 | 91.9286 | 1195.0714 | 12% | 143.4086 | 8% | 95.6057 | 20% | 239.0143 | 71.7043 | 310.7186 | 1505.79
Cables / Wires | Wire 30.0mm² THHN (5 meters per Unit) |  | m | 59 | 626.5635 | 36967.246 | 12% | 4436.0695 | 8% | 2957.3797 | 20% | 7393.4492 | 2218.0348 | 9611.484 | 46578.73
for ground:
Cables / Wires | Wire 3.5mm² THHN (G) (5 meters per Unit) |  | m | 85 | 62.2857 | 5294.2857 | 12% | 635.3143 | 8% | 423.5429 | 20% | 1058.8571 | 317.6571 | 1376.5143 | 6670.8
Cables / Wires | Wire 8.0mm² THHN (G) (5 meters per Unit) |  | m | 20 | 149.1111 | 2982.2222 | 12% | 357.8667 | 8% | 238.5778 | 20% | 596.4444 | 178.9333 | 775.3778 | 3757.6
CONSUMABLES
CONSUMABLES | Vibration Isolator |  | pcs | 16 | 1103.1032 | 17649.6508 | 12% | 2117.9581 | 8% | 1411.9721 | 20% | 3529.9302 | 1058.979 | 4588.9092 | 22238.56
CONSUMABLES | Angle Bar, 2x2x 1/4 (6 meters) |  | length/s | 6 | 2002.5556 | 12015.3333 | 12% | 1441.84 | 8% | 961.2267 | 20% | 2403.0667 | 720.92 | 3123.9867 | 15139.32
CONSUMABLES | Rugby |  | bottle | 25 | 220.627 | 5515.6746 | 12% | 661.881 | 8% | 441.254 | 20% | 1103.1349 | 330.9405 | 1434.0754 | 6949.75
CONSUMABLES | White Tape |  | rolls | 49 | 297 | 14553 | 12% | 1746.36 | 8% | 1164.24 | 20% | 2910.6 | 873.18 | 3783.78 | 18336.78
CONSUMABLES | Threaded rod 3/8 (6 meters) |  | length/s | 107 | 135.7698 | 14527.373 | 12% | 1743.2848 | 8% | 1162.1898 | 20% | 2905.4746 | 871.6424 | 3777.117 | 18304.49
CONSUMABLES | Nuts and washer 3/8 |  | pcs | 32 | 16.9762 | 543.2381 | 12% | 65.1886 | 8% | 43.459 | 20% | 108.6476 | 32.5943 | 141.2419 | 684.48
CONSUMABLES | Grip Anchor 3/8 |  | pcs | 32 | 8.4921 | 271.746 | 12% | 32.6095 | 8% | 21.7397 | 20% | 54.3492 | 16.3048 | 70.654 | 342.4
CONSUMABLES | Paint (Red Oxide) |  | gallon | 1 | 2723.8095 | 2723.8095 | 12% | 326.8571 | 8% | 217.9048 | 20% | 544.7619 | 163.4286 | 708.1905 | 3432
CONSUMABLES | Loop Hangers |  | pcs | 402 | 33.9524 | 13648.8571 | 12% | 1637.8629 | 8% | 1091.9086 | 20% | 2729.7714 | 818.9314 | 3548.7029 | 17197.56
CONSUMABLES | Freon |  | tank | 7 | 11506.1667 | 80543.1667 | 12% | 9665.18 | 8% | 6443.4533 | 20% | 16108.6333 | 4832.59 | 20941.2233 | 101484.39
CONSUMABLES | Nitrogen |  | tank | 4 | 14425.127 | 57700.5079 | 12% | 6924.061 | 8% | 4616.0406 | 20% | 11540.1016 | 3462.0305 | 15002.1321 | 72702.64
CONSUMABLES | Mapp Gas |  | tank | 12 | 678.8333 | 8146 | 12% | 977.52 | 8% | 651.68 | 20% | 1629.2 | 488.76 | 2117.96 | 10263.96
CONSUMABLES | Silver Rod |  | pcs | 160 | 42.4365 | 6789.8413 | 12% | 814.781 | 8% | 543.1873 | 20% | 1357.9683 | 407.3905 | 1765.3587 | 8555.2
CONSUMABLES | Paint Brush |  | pcs | 1 | 169.7143 | 169.7143 | 12% | 20.3657 | 8% | 13.5771 | 20% | 33.9429 | 10.1829 | 44.1257 | 213.84
CHIPPING & RESTORATION (ROUGH-ONLY) | CHIPPING & RESTORATION (ROUGH-ONLY) |  | lot | 1 | 585197.4921 | 585197.4921 | 12% | 70223.699 | 8% | 46815.7994 | 20% | 117039.4984 | 35111.8495 | 152151.3479 | 737348.84
MISCELLANEOUS | MISCELLANEOUS |  | lot | 1 | 5270.4048 | 5270.4048 | 12% | 632.4486 | 8% | 421.6324 | 20% | 1054.081 | 316.2243 | 1370.3052 | 6640.71
TESTING & COMMISIONING | TESTING & COMMISIONING |  | lot | 1 | 37452.6429 | 37452.6429 | 12% | 4494.3171 | 8% | 2996.2114 | 20% | 7490.5286 | 2247.1586 | 9737.6871 | 47190.33
III.A | AIR CONDITIONING- VRV SYSTEM C
AIR CONDITIONING- VRV SYSTEM C | ACCU- Model: RXQ18BYM |  | units | 3 | 588141.0397 | 1764423.119 | 12% | 211730.7743 | 8% | 141153.8495 | 20% | 352884.6238 | 105865.3871 | 458750.011 | 2223173.13
AIR CONDITIONING- VRV SYSTEM C | FCU- 2 HP Wall Mounted VRF C (Storage Room, OR No. 8 Ortho, NSS/Pay, OR No. 9 Plastic Surgery (2) ) Model: FXAQ50BVM |  | units | 1 | 43720.1111 | 43720.1111 | 12% | 5246.4133 | 8% | 3497.6089 | 20% | 8744.0222 | 2623.2067 | 11367.2289 | 55087.34
AIR CONDITIONING- VRV SYSTEM C | FCU- 2.5HP Wall Mounted VRF C (OR No. 4, Euro- Endo (2), OR No. 7 Ortho, OR. 12 Pedia, OR No. 10 Pay) Model: FXAQ63BVM |  | units | 7 | 44621.3175 | 312349.2222 | 12% | 37481.9067 | 8% | 24987.9378 | 20% | 62469.8444 | 18740.9533 | 81210.7978 | 393560.02
AIR CONDITIONING- VRV SYSTEM C | FCU- 6HP ceiling Cassette VRF C (Corridor near Ortho, Corridor near OR. No. 10, Corridor near NSS/Pay) Model: FXFQ140AVM |  | units | 2 | 69468.8016 | 138937.6032 | 12% | 16672.5124 | 8% | 11115.0083 | 20% | 27787.5206 | 8336.2562 | 36123.7768 | 175061.38
Accessories:
ACU Accessories: | Wired Remote Controller Model: BRC1E63 |  | units | 10 | 9333.9048 | 93339.0476 | 12% | 11200.6857 | 8% | 7467.1238 | 20% | 18667.8095 | 5600.3429 | 24268.1524 | 117607.2
ACU Accessories: | Standard panel(Fresh white) Model: BYCQ125EAF |  | units | 2 | 17734.4206 | 35468.8413 | 12% | 4256.261 | 8% | 2837.5073 | 20% | 7093.7683 | 2128.1305 | 9221.8987 | 44690.74
ACU Accessories: | Refnet Joints Model: KHRP26A33T |  | units | 2 | 3920.246 | 7840.4921 | 12% | 940.859 | 8% | 627.2394 | 20% | 1568.0984 | 470.4295 | 2038.5279 | 9879.02
ACU Accessories: | Refnet Joints Model: KHRP26A72T |  | units | 4 | 6533.7381 | 26134.9524 | 12% | 3136.1943 | 8% | 2090.7962 | 20% | 5226.9905 | 1568.0971 | 6795.0876 | 32930.04
ACU Accessories: | Refnet Joints Model: KHRP26A73T |  | units | 3 | 11200.6905 | 33602.0714 | 12% | 4032.2486 | 8% | 2688.1657 | 20% | 6720.4143 | 2016.1243 | 8736.5386 | 42338.61
ACU Accessories: | Pipe Size Reducer Model: KHRP26M73TP |  | units | 3 | 4760.2937 | 14280.881 | 12% | 1713.7057 | 8% | 1142.4705 | 20% | 2856.1762 | 856.8529 | 3713.029 | 17993.91
ACU Accessories: | VRV Multi Con piping kit Model: BHFP22R168-7 |  | units | 1 | 31548.5873 | 31548.5873 | 12% | 3785.8305 | 8% | 2523.887 | 20% | 6309.7175 | 1892.9152 | 8202.6327 | 39751.22
Copper Pipes - Type L Hard Drawn Pipes
Copper Pipes - Type L Hard Drawn Pipes | 1/4" |  | length/s | 1 | 1682.8016 | 1682.8016 | 12% | 201.9362 | 8% | 134.6241 | 20% | 336.5603 | 100.9681 | 437.5284 | 2120.33
Copper Pipes - Type L Hard Drawn Pipes | 3/8" |  | length/s | 11 | 2343.1349 | 25774.4841 | 12% | 3092.9381 | 8% | 2061.9587 | 20% | 5154.8968 | 1546.469 | 6701.3659 | 32475.85
Copper Pipes - Type L Hard Drawn Pipes | 1/2" |  | length/s | 2 | 3727.7143 | 7455.4286 | 12% | 894.6514 | 8% | 596.4343 | 20% | 1491.0857 | 447.3257 | 1938.4114 | 9393.84
Copper Pipes - Type L Hard Drawn Pipes | 5/8" |  | length/s | 14 | 5377.7381 | 75288.3333 | 12% | 9034.6 | 8% | 6023.0667 | 20% | 15057.6667 | 4517.3 | 19574.9667 | 94863.3
Copper Pipes - Type L Hard Drawn Pipes | 3/4" |  | length/s | 9 | 6858.9921 | 61730.9286 | 12% | 7407.7114 | 8% | 4938.4743 | 20% | 12346.1857 | 3703.8557 | 16050.0414 | 77780.97
Copper Pipes - Type L Hard Drawn Pipes | 7/8" |  | length/s | 1 | 8626.9921 | 8626.9921 | 12% | 1035.239 | 8% | 690.1594 | 20% | 1725.3984 | 517.6195 | 2243.0179 | 10870.01
Copper Pipes - Type L Hard Drawn Pipes | 1-1/8" |  | length/s | 5 | 12354.6984 | 61773.4921 | 12% | 7412.819 | 8% | 4941.8794 | 20% | 12354.6984 | 3706.4095 | 16061.1079 | 77834.6
Copper Pipes - Type L Hard Drawn Pipes | 1-3/8" |  | length/s | 3 | 16678.8333 | 50036.5 | 12% | 6004.38 | 8% | 4002.92 | 20% | 10007.3 | 3002.19 | 13009.49 | 63045.99
Copper Pipes - Type L Hard Drawn Pipes | 1-5/8" |  | length/s | 7 | 21460.1349 | 150220.9444 | 12% | 18026.5133 | 8% | 12017.6756 | 20% | 30044.1889 | 9013.2567 | 39057.4456 | 189278.39
Copper Pipes Insulation 25mm Thick
Copper Pipes Insulation 25mm Thick | 1/4" |  | length/s | 2 | 344.1032 | 688.2063 | 12% | 82.5848 | 8% | 55.0565 | 20% | 137.6413 | 41.2924 | 178.9337 | 867.14
Copper Pipes Insulation 25mm Thick | 3/8" |  | length/s | 21 | 350.6587 | 7363.8333 | 12% | 883.66 | 8% | 589.1067 | 20% | 1472.7667 | 441.83 | 1914.5967 | 9278.43
Copper Pipes Insulation 25mm Thick | 1/2" |  | length/s | 4 | 409.6429 | 1638.5714 | 12% | 196.6286 | 8% | 131.0857 | 20% | 327.7143 | 98.3143 | 426.0286 | 2064.6
Copper Pipes Insulation 25mm Thick | 5/8" |  | length/s | 27 | 499.7698 | 13493.7857 | 12% | 1619.2543 | 8% | 1079.5029 | 20% | 2698.7571 | 809.6271 | 3508.3843 | 17002.17
Copper Pipes Insulation 25mm Thick | 3/4" |  | length/s | 17 | 562.0317 | 9554.5397 | 12% | 1146.5448 | 8% | 764.3632 | 20% | 1910.9079 | 573.2724 | 2484.1803 | 12038.72
Copper Pipes Insulation 25mm Thick | 7/8" |  | length/s | 2 | 622.6587 | 1245.3175 | 12% | 149.4381 | 8% | 99.6254 | 20% | 249.0635 | 74.719 | 323.7825 | 1569.1
Copper Pipes Insulation 25mm Thick | 1-1/8" |  | length/s | 10 | 671.8175 | 6718.1746 | 12% | 806.181 | 8% | 537.454 | 20% | 1343.6349 | 403.0905 | 1746.7254 | 8464.9
Copper Pipes Insulation 25mm Thick | 1-3/8" |  | length/s | 5 | 711.1349 | 3555.6746 | 12% | 426.681 | 8% | 284.454 | 20% | 711.1349 | 213.3405 | 924.4754 | 4480.15
Copper Pipes Insulation 25mm Thick | 1-5/8" |  | length/s | 13 | 802.9048 | 10437.7619 | 12% | 1252.5314 | 8% | 835.021 | 20% | 2087.5524 | 626.2657 | 2713.8181 | 13151.58
Copper Pipe Fittings | Copper Pipe Fittings |  | lot | 1 | 46932.6587 | 46932.6587 | 12% | 5631.919 | 8% | 3754.6127 | 20% | 9386.5317 | 2815.9595 | 12202.4913 | 59135.15
Isolation Ball Valves | Isolation Ball Valves |  | pc/s | 20 | 2545.619 | 50912.381 | 12% | 6109.4857 | 8% | 4072.9905 | 20% | 10182.4762 | 3054.7429 | 13237.219 | 64149.6
PVC Cladding Works | PVC Cladding Works |  | lot | 1 | 15644.2222 | 15644.2222 | 12% | 1877.3067 | 8% | 1251.5378 | 20% | 3128.8444 | 938.6533 | 4067.4978 | 19711.72
Concrete Pad | Concrete Pad |  | pcs | 3 | 7636.8333 | 22910.5 | 12% | 2749.26 | 8% | 1832.84 | 20% | 4582.1 | 1374.63 | 5956.73 | 28867.23
Condensate Drain Pipes
Condensate Drain Pipes | 32mm dia. uPVC blue pipe PNS 65 |  | length/s | 33 | 320.754 | 10584.881 | 12% | 1270.1857 | 8% | 846.7905 | 20% | 2116.9762 | 635.0929 | 2752.069 | 13336.95
Condensate Drain Pipes | 50mm dia. PVC blue uPVC blue pipe PNS 65 |  | length/s | 12 | 509.3889 | 6112.6667 | 12% | 733.52 | 8% | 489.0133 | 20% | 1222.5333 | 366.76 | 1589.2933 | 7701.96
Condensate Drain Pipes Rubber Insulation 1.5 meters
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 32mm pvc |  | length/s | 66 | 339.4206 | 22401.7619 | 12% | 2688.2114 | 8% | 1792.141 | 20% | 4480.3524 | 1344.1057 | 5824.4581 | 28226.22
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 50mm pvc |  | length/s | 23 | 644.8968 | 14832.627 | 12% | 1779.9152 | 8% | 1186.6102 | 20% | 2966.5254 | 889.9576 | 3856.483 | 18689.11
Drain Pump
(5.0m pump Lift) Model: BDU513A450VE | (5.0m pump Lift) Model: BDU513A450VE |  | pcs | 11 | 24185.0476 | 266035.5238 | 12% | 31924.2629 | 8% | 21282.8419 | 20% | 53207.1048 | 15962.1314 | 69169.2362 | 335204.76
Fittings
Fittings | Wye Reducer 50 x 32 |  | length/s | 7 | 152.746 | 1069.2222 | 12% | 128.3067 | 8% | 85.5378 | 20% | 213.8444 | 64.1533 | 277.9978 | 1347.22
Fittings | Tee 32mm |  | length/s | 6 | 42.4365 | 254.619 | 12% | 30.5543 | 8% | 20.3695 | 20% | 50.9238 | 15.2771 | 66.201 | 320.82
Fittings | Elbow 32mm |  | length/s | 7 | 34.627 | 242.3889 | 12% | 29.0867 | 8% | 19.3911 | 20% | 48.4778 | 14.5433 | 63.0211 | 305.41
Fittings | Cleanout 50mm |  | length/s | 2 | 169.7143 | 339.4286 | 12% | 40.7314 | 8% | 27.1543 | 20% | 67.8857 | 20.3657 | 88.2514 | 427.68
RELATED ELECTRICAL WORKS
Rough-ins
Rough-ins | liquid-tight metallic flexible conduits 1-1/2" |  | m | 78 | 320.754 | 25018.8095 | 12% | 3002.2571 | 8% | 2001.5048 | 20% | 5003.7619 | 1501.1286 | 6504.8905 | 31523.7
Rough-ins | Metallic Flexible Conduit 20mm |  | m | 444 | 52.2778 | 23211.3333 | 12% | 2785.36 | 8% | 1856.9067 | 20% | 4642.2667 | 1392.68 | 6034.9467 | 29246.28
Rough-ins | Metallic Flexible Conduit Connector 20mm |  | pcs | 26 | 25.4683 | 662.1746 | 12% | 79.461 | 8% | 52.974 | 20% | 132.4349 | 39.7305 | 172.1654 | 834.34
Cables / Wires
Cables / Wires | Communication wire (PD Royal Cord 0.75mm/2C) |  | m | 291 | 64.1587 | 18670.1905 | 12% | 2240.4229 | 8% | 1493.6152 | 20% | 3734.0381 | 1120.2114 | 4854.2495 | 23524.44
Cables / Wires | Wire 3.5mm² THHN (5 meters per Unit) |  | m | 63 | 62.2937 | 3924.5 | 12% | 470.94 | 8% | 313.96 | 20% | 784.9 | 235.47 | 1020.37 | 4944.87
Cables / Wires | Wire 5.5mm² THHN (5 meters per Unit) |  | m | 26 | 95.3254 | 2478.4603 | 12% | 297.4152 | 8% | 198.2768 | 20% | 495.6921 | 148.7076 | 644.3997 | 3122.86
Cables / Wires | Wire 30.0mm² THHN (5 meters per Unit) |  | m | 59 | 626.5635 | 36967.246 | 12% | 4436.0695 | 8% | 2957.3797 | 20% | 7393.4492 | 2218.0348 | 9611.484 | 46578.73
for ground:
Cables / Wires | Wire 3.5mm² THHN (G) (5 meters per Unit) |  | m | 65 | 62.2937 | 4049.0873 | 12% | 485.8905 | 8% | 323.927 | 20% | 809.8175 | 242.9452 | 1052.7627 | 5101.85
Cables / Wires | Wire 8.0mm² THHN (G) (5 meters per Unit) |  | m | 20 | 149.1111 | 2982.2222 | 12% | 357.8667 | 8% | 238.5778 | 20% | 596.4444 | 178.9333 | 775.3778 | 3757.6
CONSUMABLES
CONSUMABLES | Vibration Isolator |  | pcs | 20 | 1103.1032 | 22062.0635 | 12% | 2647.4476 | 8% | 1764.9651 | 20% | 4412.4127 | 1323.7238 | 5736.1365 | 27798.2
CONSUMABLES | Angle Bar, 2x2x 1/4 (6 meters) |  | length/s | 7 | 2002.5556 | 14017.8889 | 12% | 1682.1467 | 8% | 1121.4311 | 20% | 2803.5778 | 841.0733 | 3644.6511 | 17662.54
CONSUMABLES | Rugby |  | bottle | 15 | 220.627 | 3309.4048 | 12% | 397.1286 | 8% | 264.7524 | 20% | 661.881 | 198.5643 | 860.4452 | 4169.85
CONSUMABLES | White Tape |  | rolls | 30 | 297 | 8910 | 12% | 1069.2 | 8% | 712.8 | 20% | 1782 | 534.6 | 2316.6 | 11226.6
CONSUMABLES | Threaded rod 3/8 (6 meters) |  | length/s | 65 | 135.7698 | 8825.0397 | 12% | 1059.0048 | 8% | 706.0032 | 20% | 1765.0079 | 529.5024 | 2294.5103 | 11119.55
CONSUMABLES | Nuts and washer 3/8 |  | pcs | 32 | 16.9762 | 543.2381 | 12% | 65.1886 | 8% | 43.459 | 20% | 108.6476 | 32.5943 | 141.2419 | 684.48
CONSUMABLES | Grip Anchor 3/8 |  | pcs | 32 | 8.4921 | 271.746 | 12% | 32.6095 | 8% | 21.7397 | 20% | 54.3492 | 16.3048 | 70.654 | 342.4
CONSUMABLES | Paint (Red Oxide) |  | gallon | 1 | 2723.8095 | 2723.8095 | 12% | 326.8571 | 8% | 217.9048 | 20% | 544.7619 | 163.4286 | 708.1905 | 3432
CONSUMABLES | Loop Hangers |  | pcs | 244 | 33.9524 | 8284.381 | 12% | 994.1257 | 8% | 662.7505 | 20% | 1656.8762 | 497.0629 | 2153.939 | 10438.32
CONSUMABLES | Freon |  | tank | 5 | 11506.1667 | 57530.8333 | 12% | 6903.7 | 8% | 4602.4667 | 20% | 11506.1667 | 3451.85 | 14958.0167 | 72488.85
CONSUMABLES | Nitrogen |  | tank | 3 | 14425.127 | 43275.381 | 12% | 5193.0457 | 8% | 3462.0305 | 20% | 8655.0762 | 2596.5229 | 11251.599 | 54526.98
CONSUMABLES | Mapp Gas |  | tank | 8 | 644.8968 | 5159.1746 | 12% | 619.101 | 8% | 412.734 | 20% | 1031.8349 | 309.5505 | 1341.3854 | 6500.56
CONSUMABLES | Silver Rod |  | pcs | 98 | 42.4365 | 4158.7778 | 12% | 499.0533 | 8% | 332.7022 | 20% | 831.7556 | 249.5267 | 1081.2822 | 5240.06
CONSUMABLES | Paint Brush |  | pcs | 1 | 169.7143 | 169.7143 | 12% | 20.3657 | 8% | 13.5771 | 20% | 33.9429 | 10.1829 | 44.1257 | 213.84
CHIPPING & RESTORATION (ROUGH-ONLY) | CHIPPING & RESTORATION (ROUGH-ONLY) |  | lot | 1 | 585197.4921 | 585197.4921 | 12% | 70223.699 | 8% | 46815.7994 | 20% | 117039.4984 | 35111.8495 | 152151.3479 | 737348.84
MISCELLANEOUS | MISCELLANEOUS |  | lot | 1 | 3976.5794 | 3976.5794 | 12% | 477.1895 | 8% | 318.1263 | 20% | 795.3159 | 238.5948 | 1033.9106 | 5010.49
TESTING & COMMISIONING | TESTING & COMMISSIONING |  | lot | 1 | 30430.2698 | 30430.2698 | 12% | 3651.6324 | 8% | 2434.4216 | 20% | 6086.054 | 1825.8162 | 7911.8702 | 38342.14
AIR CONDITIONING- VRV SYSTEM D
AIR CONDITIONING- VRV SYSTEM D | ACCU- Model: RXQ20BYM |  | units | 3 | 626442.2143 | 1879326.6429 | 12% | 225519.1971 | 8% | 150346.1314 | 20% | 375865.3286 | 112759.5986 | 488624.9271 | 2367951.57
AIR CONDITIONING- VRV SYSTEM D | FCU- 2 HP Wall Mounted VRF C (Storage Room, OR No. 8 Ortho, NSS/Pay, OR No. 9 Plastic Surgery (2) ) Model: FXAQ50BVM |  | units | 6 | 43720.1111 | 262320.6667 | 12% | 31478.48 | 8% | 20985.6533 | 20% | 52464.1333 | 15739.24 | 68203.3733 | 330524.04
AIR CONDITIONING- VRV SYSTEM D | FCU- 2.5HP Wall Mounted VRF C (OR No. 4, Euro- Endo (2), OR No. 7 Ortho, OR. 12 Pedia, OR No. 10 Pay) Model: FXAQ63BVM |  | units | 4 | 44621.3175 | 178485.2698 | 12% | 21418.2324 | 8% | 14278.8216 | 20% | 35697.054 | 10709.1162 | 46406.1702 | 224891.44
AIR CONDITIONING- VRV SYSTEM D | FCU- 6HP ceiling Cassette VRF C (Corridor near Ortho, Corridor near OR. No. 10, Corridor near NSS/Pay) Model: FXFQ140AVM |  | units | 2 | 69468.8016 | 138937.6032 | 12% | 16672.5124 | 8% | 11115.0083 | 20% | 27787.5206 | 8336.2562 | 36123.7768 | 175061.38
Accessories:
ACU Accessories: | Wired Remote Controller Model: BRC1E63 |  | units | 12 | 9333.9048 | 112006.8571 | 12% | 13440.8229 | 8% | 8960.5486 | 20% | 22401.3714 | 6720.4114 | 29121.7829 | 141128.64
ACU Accessories: | Standard panel(Fresh white) Model: BYCQ125EAF |  | units | 2 | 17734.4206 | 35468.8413 | 12% | 4256.261 | 8% | 2837.5073 | 20% | 7093.7683 | 2128.1305 | 9221.8987 | 44690.74
ACU Accessories: | Refnet Joints Model: KHRP26A22T |  | units | 4 | 3453.5476 | 13814.1905 | 12% | 1657.7029 | 8% | 1105.1352 | 20% | 2762.8381 | 828.8514 | 3591.6895 | 17405.88
ACU Accessories: | Refnet Joints Model: KHRP26A33T |  | units | 1 | 3920.246 | 3920.246 | 12% | 470.4295 | 8% | 313.6197 | 20% | 784.0492 | 235.2148 | 1019.264 | 4939.51
ACU Accessories: | Refnet Joints Model: KHRP26A72T |  | units | 3 | 6533.7381 | 19601.2143 | 12% | 2352.1457 | 8% | 1568.0971 | 20% | 3920.2429 | 1176.0729 | 5096.3157 | 24697.53
ACU Accessories: | Refnet Joints Model: KHRP26A73T |  | units | 3 | 11200.6905 | 33602.0714 | 12% | 4032.2486 | 8% | 2688.1657 | 20% | 6720.4143 | 2016.1243 | 8736.5386 | 42338.61
ACU Accessories: | Pipe Size Reducer Model: KHRP26M73TP |  | units | 3 | 4760.2937 | 14280.881 | 12% | 1713.7057 | 8% | 1142.4705 | 20% | 2856.1762 | 856.8529 | 3713.029 | 17993.91
ACU Accessories: | VRV Multi Con piping kit Model: BHFP22R168-7 |  | units | 1 | 31548.5873 | 31548.5873 | 12% | 3785.8305 | 8% | 2523.887 | 20% | 6309.7175 | 1892.9152 | 8202.6327 | 39751.22
Copper Pipes - Type L Hard Drawn Pipes
Copper Pipes - Type L Hard Drawn Pipes | 1/4" |  | length/s | 8 | 1682.8016 | 13462.4127 | 12% | 1615.4895 | 8% | 1076.993 | 20% | 2692.4825 | 807.7448 | 3500.2273 | 16962.64
Copper Pipes - Type L Hard Drawn Pipes | 3/8" |  | length/s | 12 | 2343.1349 | 28117.619 | 12% | 3374.1143 | 8% | 2249.4095 | 20% | 5623.5238 | 1687.0571 | 7310.581 | 35428.2
Copper Pipes - Type L Hard Drawn Pipes | 1/2" |  | length/s | 10 | 3727.7143 | 37277.1429 | 12% | 4473.2571 | 8% | 2982.1714 | 20% | 7455.4286 | 2236.6286 | 9692.0571 | 46969.2
Copper Pipes - Type L Hard Drawn Pipes | 5/8" |  | length/s | 14 | 5377.7381 | 75288.3333 | 12% | 9034.6 | 8% | 6023.0667 | 20% | 15057.6667 | 4517.3 | 19574.9667 | 94863.3
Copper Pipes - Type L Hard Drawn Pipes | 3/4" |  | length/s | 16 | 6858.9921 | 109743.873 | 12% | 13169.2648 | 8% | 8779.5098 | 20% | 21948.7746 | 6584.6324 | 28533.407 | 138277.28
Copper Pipes - Type L Hard Drawn Pipes | 7/8" |  | length/s | 2 | 8626.9921 | 17253.9841 | 12% | 2070.4781 | 8% | 1380.3187 | 20% | 3450.7968 | 1035.239 | 4486.0359 | 21740.02
Copper Pipes - Type L Hard Drawn Pipes | 1-1/8" |  | length/s | 5 | 12354.6984 | 61773.4921 | 12% | 7412.819 | 8% | 4941.8794 | 20% | 12354.6984 | 3706.4095 | 16061.1079 | 77834.6
Copper Pipes - Type L Hard Drawn Pipes | 1-3/8" |  | length/s | 2 | 16678.8333 | 33357.6667 | 12% | 4002.92 | 8% | 2668.6133 | 20% | 6671.5333 | 2001.46 | 8672.9933 | 42030.66
Copper Pipes - Type L Hard Drawn Pipes | 1-5/8" |  | length/s | 14 | 21460.1349 | 300441.8889 | 12% | 36053.0267 | 8% | 24035.3511 | 20% | 60088.3778 | 18026.5133 | 78114.8911 | 378556.78
Copper Pipes Insulation 25mm Thick
Copper Pipes Insulation 25mm Thick | 1/4" |  | length/s | 16 | 344.1032 | 5505.6508 | 12% | 660.6781 | 8% | 440.4521 | 20% | 1101.1302 | 330.339 | 1431.4692 | 6937.12
Copper Pipes Insulation 25mm Thick | 3/8" |  | length/s | 24 | 350.6587 | 8415.8095 | 12% | 1009.8971 | 8% | 673.2648 | 20% | 1683.1619 | 504.9486 | 2188.1105 | 10603.92
Copper Pipes Insulation 25mm Thick | 1/2" |  | length/s | 19 | 409.6429 | 7783.2143 | 12% | 933.9857 | 8% | 622.6571 | 20% | 1556.6429 | 466.9929 | 2023.6357 | 9806.85
Copper Pipes Insulation 25mm Thick | 5/8" |  | length/s | 27 | 499.7698 | 13493.7857 | 12% | 1619.2543 | 8% | 1079.5029 | 20% | 2698.7571 | 809.6271 | 3508.3843 | 17002.17
Copper Pipes Insulation 25mm Thick | 3/4" |  | length/s | 31 | 562.0317 | 17422.9841 | 12% | 2090.7581 | 8% | 1393.8387 | 20% | 3484.5968 | 1045.379 | 4529.9759 | 21952.96
Copper Pipes Insulation 25mm Thick | 7/8" |  | length/s | 4 | 622.6587 | 2490.6349 | 12% | 298.8762 | 8% | 199.2508 | 20% | 498.127 | 149.4381 | 647.5651 | 3138.2
Copper Pipes Insulation 25mm Thick | 1-1/8" |  | length/s | 10 | 671.8175 | 6718.1746 | 12% | 806.181 | 8% | 537.454 | 20% | 1343.6349 | 403.0905 | 1746.7254 | 8464.9
Copper Pipes Insulation 25mm Thick | 1-3/8" |  | length/s | 4 | 711.1349 | 2844.5397 | 12% | 341.3448 | 8% | 227.5632 | 20% | 568.9079 | 170.6724 | 739.5803 | 3584.12
Copper Pipes Insulation 25mm Thick | 1-5/8" |  | length/s | 27 | 802.9048 | 21678.4286 | 12% | 2601.4114 | 8% | 1734.2743 | 20% | 4335.6857 | 1300.7057 | 5636.3914 | 27314.82
Copper Pipe Fittings | Copper Pipe Fittings |  | lot | 1 | 76714.2619 | 76714.2619 | 12% | 9205.7114 | 8% | 6137.141 | 20% | 15342.8524 | 4602.8557 | 19945.7081 | 96659.97
Isolation Ball Valves | Isolation Ball Valves |  | pc/s | 24 | 2545.619 | 61094.8571 | 12% | 7331.3829 | 8% | 4887.5886 | 20% | 12218.9714 | 3665.6914 | 15884.6629 | 76979.52
PVC Cladding Works | PVC Cladding Works |  | lot | 1 | 25571.4286 | 25571.4286 | 12% | 3068.5714 | 8% | 2045.7143 | 20% | 5114.2857 | 1534.2857 | 6648.5714 | 32220
Concrete Pad | Concrete Pad |  | pcs | 3 | 7636.8333 | 22910.5 | 12% | 2749.26 | 8% | 1832.84 | 20% | 4582.1 | 1374.63 | 5956.73 | 28867.23
Condensate Drain Pipes
Condensate Drain Pipes | 32mm dia. uPVC blue pipe PNS 65 |  | length/s | 31 | 320.754 | 9943.373 | 12% | 1193.2048 | 8% | 795.4698 | 20% | 1988.6746 | 596.6024 | 2585.277 | 12528.65
Condensate Drain Pipes | 50mm dia. PVC blue uPVC blue pipe PNS 65 |  | length/s | 38 | 509.3889 | 19356.7778 | 12% | 2322.8133 | 8% | 1548.5422 | 20% | 3871.3556 | 1161.4067 | 5032.7622 | 24389.54
Condensate Drain Pipes Rubber Insulation 1.5 meters
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 32mm pvc |  | length/s | 61 | 339.4206 | 20704.6587 | 12% | 2484.559 | 8% | 1656.3727 | 20% | 4140.9317 | 1242.2795 | 5383.2113 | 26087.87
Condensate Drain Pipes Rubber Insulation 1.5 meters | 3/4'' thick for 50mm pvc |  | length/s | 75 | 644.8968 | 48367.2619 | 12% | 5804.0714 | 8% | 3869.381 | 20% | 9673.4524 | 2902.0357 | 12575.4881 | 60942.75
Drain Pump
(5.0m pump Lift) Model: BDU513A450VE | (5.0m pump Lift) Model: BDU513A450VE |  | pcs | 10 | 24185.0476 | 241850.4762 | 12% | 29022.0571 | 8% | 19348.0381 | 20% | 48370.0952 | 14511.0286 | 62881.1238 | 304731.6
Fittings
Fittings | Wye 50mm |  | length/s | 2 | 169.7143 | 339.4286 | 12% | 40.7314 | 8% | 27.1543 | 20% | 67.8857 | 20.3657 | 88.2514 | 427.68
Fittings | Wye Reducer 50 x 32 |  | length/s | 11 | 152.746 | 1680.2063 | 12% | 201.6248 | 8% | 134.4165 | 20% | 336.0413 | 100.8124 | 436.8537 | 2117.06
Fittings | Tee 32mm |  | length/s | 3 | 42.4365 | 127.3095 | 12% | 15.2771 | 8% | 10.1848 | 20% | 25.4619 | 7.6386 | 33.1005 | 160.41
Fittings | Tee Reducer 50 x 32 |  | length/s | 3 | 161.2302 | 483.6905 | 12% | 58.0429 | 8% | 38.6952 | 20% | 96.7381 | 29.0214 | 125.7595 | 609.45
Fittings | Elbow 32mm |  | length/s | 7 | 34.627 | 242.3889 | 12% | 29.0867 | 8% | 19.3911 | 20% | 48.4778 | 14.5433 | 63.0211 | 305.41
Fittings | Cleanout 50mm |  | length/s | 6 | 169.7143 | 1018.2857 | 12% | 122.1943 | 8% | 81.4629 | 20% | 203.6571 | 61.0971 | 264.7543 | 1283.04
RELATED ELECTRICAL WORKS
Rough-ins
Rough-ins | liquid-tight metallic flexible conduits 2" |  | m | 78 | 605.8651 | 47257.4762 | 12% | 5670.8971 | 8% | 3780.5981 | 20% | 9451.4952 | 2835.4486 | 12286.9438 | 59544.42
Rough-ins | Metallic Flexible Conduit 20mm |  | m | 654 | 52.2778 | 34189.6667 | 12% | 4102.76 | 8% | 2735.1733 | 20% | 6837.9333 | 2051.38 | 8889.3133 | 43078.98
Rough-ins | Metallic Flexible Conduit Connector 20mm |  | pcs | 32 | 25.4683 | 814.9841 | 12% | 97.7981 | 8% | 65.1987 | 20% | 162.9968 | 48.899 | 211.8959 | 1026.88
Cables / Wires
Cables / Wires | Communication wire (PD Royal Cord 0.75mm/2C) |  | m | 472 | 64.1587 | 30282.9206 | 12% | 3633.9505 | 8% | 2422.6337 | 20% | 6056.5841 | 1816.9752 | 7873.5594 | 38156.48
Cables / Wires | Wire 3.5mm² THHN (5 meters per Unit) |  | m | 78 | 61.1508 | 4769.7619 | 12% | 572.3714 | 8% | 381.581 | 20% | 953.9524 | 286.1857 | 1240.1381 | 6009.9
Cables / Wires | Wire 5.5mm² THHN (5 meters per Unit) |  | m | 26 | 95.3254 | 2478.4603 | 12% | 297.4152 | 8% | 198.2768 | 20% | 495.6921 | 148.7076 | 644.3997 | 3122.86
Cables / Wires | Wire 38.0mm² THHN (5 meters per Unit) |  | m | 59 | 744.6032 | 43931.5873 | 12% | 5271.7905 | 8% | 3514.527 | 20% | 8786.3175 | 2635.8952 | 11422.2127 | 55353.8
for ground:
Cables / Wires | Wire 3.5mm² THHN (G) (5 meters per Unit) |  | m | 78 | 59.8095 | 4665.1429 | 12% | 559.8171 | 8% | 373.2114 | 20% | 933.0286 | 279.9086 | 1212.9371 | 5878.08
Cables / Wires | Wire 14.0mm² THHN (G) (5 meters per Unit) |  | m | 20 | 246.8333 | 4936.6667 | 12% | 592.4 | 8% | 394.9333 | 20% | 987.3333 | 296.2 | 1283.5333 | 6220.2
CONSUMABLES
CONSUMABLES | Vibration Isolator |  | pcs | 20 | 1103.1032 | 22062.0635 | 12% | 2647.4476 | 8% | 1764.9651 | 20% | 4412.4127 | 1323.7238 | 5736.1365 | 27798.2
CONSUMABLES | Angle Bar, 2x2x 1/4 (6 meters) |  | length/s | 7 | 2002.5556 | 14017.8889 | 12% | 1682.1467 | 8% | 1121.4311 | 20% | 2803.5778 | 841.0733 | 3644.6511 | 17662.54
CONSUMABLES | Rugby |  | bottle | 24 | 220.627 | 5295.0476 | 12% | 635.4057 | 8% | 423.6038 | 20% | 1059.0095 | 317.7029 | 1376.7124 | 6671.76
CONSUMABLES | White Tape |  | rolls | 47 | 297 | 13959 | 12% | 1675.08 | 8% | 1116.72 | 20% | 2791.8 | 837.54 | 3629.34 | 17588.34
CONSUMABLES | Threaded rod 3/8 (6 meters) |  | length/s | 104 | 135.7698 | 14120.0635 | 12% | 1694.4076 | 8% | 1129.6051 | 20% | 2824.0127 | 847.2038 | 3671.2165 | 17791.28
CONSUMABLES | Nuts and washer 3/8 |  | pcs | 32 | 16.9762 | 543.2381 | 12% | 65.1886 | 8% | 43.459 | 20% | 108.6476 | 32.5943 | 141.2419 | 684.48
CONSUMABLES | Grip Anchor 3/8 |  | pcs | 32 | 8.4921 | 271.746 | 12% | 32.6095 | 8% | 21.7397 | 20% | 54.3492 | 16.3048 | 70.654 | 342.4
CONSUMABLES | Paint (Red Oxide) |  | gallon | 1 | 2723.8095 | 2723.8095 | 12% | 326.8571 | 8% | 217.9048 | 20% | 544.7619 | 163.4286 | 708.1905 | 3432
CONSUMABLES | Loop Hangers |  | pcs | 393 | 33.9524 | 13343.2857 | 12% | 1601.1943 | 8% | 1067.4629 | 20% | 2668.6571 | 800.5971 | 3469.2543 | 16812.54
CONSUMABLES | Freon |  | tank | 8 | 11506.1667 | 92049.3333 | 12% | 11045.92 | 8% | 7363.9467 | 20% | 18409.8667 | 5522.96 | 23932.8267 | 115982.16
CONSUMABLES | Nitrogen |  | tank | 4 | 14425.127 | 57700.5079 | 12% | 6924.061 | 8% | 4616.0406 | 20% | 11540.1016 | 3462.0305 | 15002.1321 | 72702.64
CONSUMABLES | Mapp Gas |  | tank | 12 | 644.8968 | 7738.7619 | 12% | 928.6514 | 8% | 619.101 | 20% | 1547.7524 | 464.3257 | 2012.0781 | 9750.84
CONSUMABLES | Silver Rod |  | pcs | 158 | 42.4365 | 6704.9683 | 12% | 804.5962 | 8% | 536.3975 | 20% | 1340.9937 | 402.2981 | 1743.2917 | 8448.26
CONSUMABLES | Paint Brush |  | pcs | 1 | 169.7143 | 169.7143 | 12% | 20.3657 | 8% | 13.5771 | 20% | 33.9429 | 10.1829 | 44.1257 | 213.84
CHIPPING & RESTORATION (ROUGH-ONLY) | CHIPPING & RESTORATION (ROUGH-ONLY) |  | lot | 1 | 585197.4921 | 585197.4921 | 12% | 70223.699 | 8% | 46815.7994 | 20% | 117039.4984 | 35111.8495 | 152151.3479 | 737348.84
MISCELLANEOUS | MISCELLANEOUS |  | lot | 1 | 5776.119 | 5776.119 | 12% | 693.1343 | 8% | 462.0895 | 20% | 1155.2238 | 346.5671 | 1501.791 | 7277.91
TESTING & COMMISIONING | TESTING & COMMISSIONING |  | lot | 1 | 35111.8571 | 35111.8571 | 12% | 4213.4229 | 8% | 2808.9486 | 20% | 7022.3714 | 2106.7114 | 9129.0829 | 44240.94
[6 empty] | 18789457.5952 | [7 empty] | 4885258.9748 | 23674716.57
IV | ELECTRICAL WORKS
Electrical Works
I. | Service Entrance |  | INDIRECT COST (15): Existing. Tap only
II. | Feeder
Feeder Wire
Cables / Wires | 250mm² THHN |  | m | 726 | 5628.8571 | 4086550.2857 | 12% | 490386.0343 | 8% | 326924.0229 | 20% | 817310.0571 | 245193.0171 | 1062503.0743 | 5149053.36
Cables / Wires | 200mm² THHN |  | m | 117 | 4372.3492 | 511564.8571 | 12% | 61387.7829 | 8% | 40925.1886 | 20% | 102312.9714 | 30693.8914 | 133006.8629 | 644571.72
Cables / Wires | 38mm² THHN |  | m | 390 | 894.0317 | 348672.381 | 12% | 41840.6857 | 8% | 27893.7905 | 20% | 69734.4762 | 20920.3429 | 90654.819 | 439327.2
for ground:
Cables / Wires | 80mm² THHN |  | m | 242 | 1690.2857 | 409049.1429 | 12% | 49085.8971 | 8% | 32723.9314 | 20% | 81809.8286 | 24542.9486 | 106352.7771 | 515401.92
Cables / Wires | 30mm² THHN |  | m | 39 | 653.7222 | 25495.1667 | 12% | 3059.42 | 8% | 2039.6133 | 20% | 5099.0333 | 1529.71 | 6628.7433 | 32123.91
Cables / Wires | 14mm² THHN |  | m | 130 | 284.8175 | 37026.2698 | 12% | 4443.1524 | 8% | 2962.1016 | 20% | 7405.254 | 2221.5762 | 9626.8302 | 46653.1
Roughing-ins
Roughing-ins | 90mm dia. IMC |  | length/s | 94 | 7382.2778 | 693934.1111 | 12% | 83272.0933 | 8% | 55514.7289 | 20% | 138786.8222 | 41636.0467 | 180422.8689 | 874356.98
Roughing-ins | 40mm dia. IMC |  | length/s | 45 | 2121.3492 | 95460.7143 | 12% | 11455.2857 | 8% | 7636.8571 | 20% | 19092.1429 | 5727.6429 | 24819.7857 | 120280.5
III. | Panel Board & Pullbox
Panel Board & Pullbox | DP-Main |  | Assy | 1 | 612877.3413 | 612877.3413 | 12% | 73545.281 | 8% | 49030.1873 | 20% | 122575.4683 | 36772.6405 | 159348.1087 | 772225.45
Main CB: 1200AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 1 - 700AT, 3P
4 - 125AT, 3P
Panel Board & Pullbox | PP-System A |  | Assy | 1 | 99862.7857 | 99862.7857 | 12% | 11983.5343 | 8% | 7989.0229 | 20% | 19972.5571 | 5991.7671 | 25964.3243 | 125827.11
Main CB: 125AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 2 - 40AT, 3P
3 - 40AT, 2P
9 - 30AT, 2P
Panel Board & Pullbox | PP-System B |  | Assy | 1 | 107355.6587 | 107355.6587 | 12% | 12882.679 | 8% | 8588.4527 | 20% | 21471.1317 | 6441.3395 | 27912.4713 | 135268.13
Main CB: 125AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 1 - 40AT, 3P
2 - 40AT, 2P
11 - 30AT, 2P
Panel Board & Pullbox | PP-System C |  | Assy | 1 | 95389.5397 | 95389.5397 | 12% | 11446.7448 | 8% | 7631.1632 | 20% | 19077.9079 | 5723.3724 | 24801.2803 | 120190.82
Main CB: 125AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 2 - 40AT, 3P
7 - 40AT, 2P
5 - 30AT, 2P
Panel Board & Pullbox | PP-System D |  | Assy | 1 | 104343.0556 | 104343.0556 | 12% | 12521.1667 | 8% | 8347.4444 | 20% | 20868.6111 | 6260.5833 | 27129.1944 | 131472.25
Main CB: 125AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 3 - 40AT, 3P
4 - 40AT, 2P
8 - 30AT, 2P
Panel Board & Pullbox | PP-Outdoor |  | Assy | 1 | 375853.627 | 375853.627 | 12% | 45102.4352 | 8% | 30068.2902 | 20% | 75170.7254 | 22551.2176 | 97721.943 | 473575.57
Main CB: 700AT, 3P, 230V, 60Hz, Bolt-on Nema12
Branches: 4 - 150AT, 3P
| Transformer |  | Assy | 1 | 740157.7937 | 740157.7937 | 12% | 88818.9352 | 8% | 59212.6235 | 20% | 148031.5587 | 44409.4676 | 192441.0263 | 932598.82
Transformer | 500KVA Step Down Dry Type Transformer, 480V to 230V, 3P Floor mounted, Indoor Type, 60Hz, Nema1 "TRANSPHIL"
ECB | ECB 1250AT Nema 12 |  | pc | 1 | 239720.3095 | 239720.3095 | 12% | 28766.4371 | 8% | 19177.6248 | 20% | 47944.0619 | 14383.2186 | 62327.2805 | 302047.59
Pullbox | Pullbox (350mm x 350mm x 200mm) |  | pc | 5 | 4395.4286 | 21977.1429 | 12% | 2637.2571 | 8% | 1758.1714 | 20% | 4395.4286 | 1318.6286 | 5714.0571 | 27691.2
Wire Gutter | Wire Gutter |  | lot | 1 | 25456.0952 | 25456.0952 | 12% | 3054.7314 | 8% | 2036.4876 | 20% | 5091.219 | 1527.3657 | 6618.5848 | 32074.68
IV. | Mechanical System Power Supply
ECB's
ECB | ECB 150AT, 3P, 230V, Nema3R |  | pc | 4 | 23031.0397 | 92124.1587 | 12% | 11054.899 | 8% | 7369.9327 | 20% | 18424.8317 | 5527.4495 | 23952.2813 | 116076.44
ECB | ECB 40AT, 3P, 230V, Nema3R |  | pc | 7 | 8796.6984 | 61576.8889 | 12% | 7389.2267 | 8% | 4926.1511 | 20% | 12315.3778 | 3694.6133 | 16009.9911 | 77586.88
ECB | ECB 40AT, 2P, 230V, Nema3R |  | pc | 16 | 7483.5079 | 119736.127 | 12% | 14368.3352 | 8% | 9578.8902 | 20% | 23947.2254 | 7184.1676 | 31131.393 | 150867.52
ECB | ECB 30AT, 2P, 230V, Nema3R |  | pc | 23 | 7483.5079 | 172120.6825 | 12% | 20654.4819 | 8% | 13769.6546 | 20% | 34424.1365 | 10327.241 | 44751.3775 | 216872.06
Roughing-ins
Roughing-ins | 40mm dia. IMC |  | length/s | 49 | 2121.3492 | 103946.1111 | 12% | 12473.5333 | 8% | 8315.6889 | 20% | 20789.2222 | 6236.7667 | 27025.9889 | 130972.1
Roughing-ins | 25mm dia. IMC |  | length/s | 1003 | 1391.6111 | 1395785.9444 | 12% | 167494.3133 | 8% | 111662.8756 | 20% | 279157.1889 | 83747.1567 | 362904.3456 | 1758690.29
Roughing-ins | Boxes
Roughing-ins | Junction boxes with cover |  | pc/s | 195 | 99.881 | 19476.7857 | 12% | 2337.2143 | 8% | 1558.1429 | 20% | 3895.3571 | 1168.6071 | 5063.9643 | 24540.75
Wires
Cables / Wires | 50mm² THHN |  | Lm/s | 429 | 1107.8571 | 475270.7143 | 12% | 57032.4857 | 8% | 38021.6571 | 20% | 95054.1429 | 28516.2429 | 123570.3857 | 598841.1
Cables / Wires | 5.5mm² THHN |  | Lm/s | 6798 | 114.3889 | 777615.6667 | 12% | 93313.88 | 8% | 62209.2533 | 20% | 155523.1333 | 46656.94 | 202180.0733 | 979795.74
for ground:
Cables / Wires | 14mm² THHN |  | Lm/s | 143 | 284.8175 | 40728.8968 | 12% | 4887.4676 | 8% | 3258.3117 | 20% | 8145.7794 | 2443.7338 | 10589.5132 | 51318.41
Cables / Wires | 5.5mm² THHN |  | Lm/s | 3185 | 114.3889 | 364328.6111 | 12% | 43719.4333 | 8% | 29146.2889 | 20% | 72865.7222 | 21859.7167 | 94725.4389 | 459054.05
Chipping & Restoration Works (Rough only) | Chipping & Restoration Works (Rough only) |  | lot | 1 | 115429.4365 | 115429.4365 | 12% | 13851.5324 | 8% | 9234.3549 | 20% | 23085.8873 | 6925.7662 | 30011.6535 | 145441.09
Hangers & Supports | Hangers & Supports |  | lot | 1 | 138515.3254 | 138515.3254 | 12% | 16621.839 | 8% | 11081.226 | 20% | 27703.0651 | 8310.9195 | 36013.9846 | 174529.31
Miscelleneuos | Miscelleneuos |  | lot | 1 | 69257.6667 | 69257.6667 | 12% | 8310.92 | 8% | 5540.6133 | 20% | 13851.5333 | 4155.46 | 18006.9933 | 87264.66
Testing & Commissioning | Testing & Commissioning |  | lot | 1 | 702236.9921 | 702236.9921 | 12% | 84268.439 | 8% | 56178.9594 | 20% | 140447.3984 | 42134.2195 | 182581.6179 | 884818.61
[6 empty] | 13278896.2857 | [7 empty] | 3452513.0343 | 16731409.32
TOTAL PROJECT COST |  |  | DIRECT COST (6): 34640305.3095; INDIRECT COST (14): 8466369.5805; INDIRECT COST (15): 43106674.89